TENDERS FOR THE MANUFACTURE, TESTING AT WORKS AND SUPPLY OF EHV GRADE TRANSFORMER OIL AS PER GESCOM SPECIFICATIONS

SECTION VI: TECHNICAL SPECIFICATIONS.

- SCOPE: This standard specifies this requirement for new insulating oil as delivered in bulk, such as wagons and road tankers or drums suitable for immersion or filling of transformers, switchgears and other electrical equipment in which oil is required as an insulant or for heat transfer.

- COMPOSITION: The oil shall be pure hydro-carbon mineral oil, clean and sufficiently free from moisture or other foreign likely to impair its properties.

- SAMPLINNG: Sampling of the oil shall be done in accordance with IS. 6855- 1973.

- CHARACTERISTICS: The characteristics of the oil where it is sampled (as above in 3) and testing in accordance with the methods referred to in Table 2 shall comply with the requirements specified in Table 2 of IS. 335-2018 and amendments thereof.

- PACKING:

Oil shall be delivered in new non-returnable steel drums of 210 ltrs. Capacity. The drum shall be effectively sealed to exclude moisture.

“Consequent on the tendency for water absorption to occur and for the electrical characteristics in oils stored in drums, the limit for power factor, resistively and electric strength for oil stored in drums shall apply only to oils delivered within India and to tests made within two weeks of delivery”

- TESTS: The tests shall be carried-out in accordance with the test methods referred to in 6 of IS 335 to 2018.

- MARKINGS: Each barrel/drum shall be indelibly marked with the following:

  - Manufacturer’s name and trade mark.

  - Quantity in liters.

  - Name of the material.

  - The words “Type-II Transformer Oil, Uninhibited” and

  - Identification in code or otherwise to enable the date and lot of manufacture to be traced back to the factory records.

The container shall also be marked with ISI certification mark, letters

“GESCOM”, P.O. No. and date.

-Sd-

Superintending Engineer El.,

Procurement,

GESCOM, Kalaburagi