## NIT New Boundry wall & VC (2)
NIT SCHEDULE FOR V.C. ROOM IN OLD COURT AND NEW BOUNDRY WALL IN BETWEEN COURT AND COLLECTORATE CAMPUS, RAIPUR (C.G) | [11 empty] | c
PAC :-27.71 Lacs
S. No. | I. No. | PARTICULAR | B/W & V.C. Room | Krishi Office | Abhioyojan | Moorum Filling | Strong Room | QTY | UNIT | RATE | AMOUNT
1 | I.No. 16.10/ P-147 | Dismantling cement asbestos or other hard board ceiling or partition wall including stacking of serviceable material and disposal of unserviceable material within 50m lead | 43.46 |  |  |  |  | 43.46 | sqm | 13.5 | 587 |  |  |  | 112
| 1 I.No.-16.13/P147 | Dismantling double Allahabad tiles or Manglore tiles or single wheel tiles including roof timber (excluding trusses), including stacking of serviceable material and disposal of unserviceable material within 50m lead. |  | 50.56 | 90.85 |  |  | 141.41 | Sqm | 66 | 9333
| 2 I.No. 16.17/P148 | Dismantling G.I. sheet roofing including ridges hips, valleys and gutters etc. and stacking the material with 50 m lead. |  | 50.56 | 161.95 |  |  | 212.51 | Sqm | 33.5 | 7119
| 3 16.20 /P148 | Dismantling wood work in frame, trusses purlins and rafters etc upto 10 metre span and upto 5 metre height above plinth level including stacking the material within 50 M. lead
| 16.20.1 | Of sectional area 40 sq. cm and above |  | 2.1638 | 7.3275 |  |  | 9.4913 | cum | 894 | 8485
| 4 16.31 /P149 | Dismantling steel work in built-up section in angles, channels, flats I section and T-section including all gusset plates, bolts, nuts, cutting rivets, welding etc., including dismembering and stacking within 50 metres lead. |  | 229.27 |  |  |  | 229.27 | Kg | 1 | 229
| 5 I.No.-16.42 /P-149 | Demolishing R.C.C. work including stacking of steel bars and disposal of unserviceable material within 50 metre lead. |  | 59.49 | 53.017 |  |  | 112.507 | cum | 768 | 86405
| 6 16.3 /P146 | Demolishing brick masonry including arches, stacking of serviceable material disposal of unserviceable material within 50 metres lead.
| 16.3.3 | In cement mortar. |  | 124.06 | 191.592 |  | 1.305 | 316.957 | cum | 263 | 83360
| 7 16.26 /P148 | Dismantling doors chowkhats with shutters (steel or wood) including architrave, hold fast etc. complete and stacking within 50 metres lead. |  | 7 | 9 |  |  | 16 | each | 100 | 1600
| 8 16.27 /P148 | Dismantling windows chowkhats with shutters (steel or wood) including architrave, hold fast etc. complete and stacking within 50 metres lead.. |  | 5 | 21 |  |  | 26 | each | 66.5 | 1729
| 9 16.51 /P150 | Dismantling C.I. or asbestos rain water pipes with fittings & clamps including stacking the material within 50 metre lead
| 16.51.1 | 75 mm to 100mm dia pipe |  | 36 |  |  |  | 36 | metre | 16.5 | 594
| 10 16.43 /P149 | Demolishing cement concrete including disposal of material within 50 metre lead.
| 16.43.2 | 1:3:6 or richer mix |  | 23.469 | 44.8935 |  |  | 68.3625 | cum | 549 | 37531
| 11 16.41 /P149 | Dismantling precast concrete or stone slabs in walls partitions etc. including stacking within 50 M lead.
| 16.41.2 | Thickness above 38mm upto 75mm. |  | 18.13 |  |  |  | 18.13 | Sqm | 85 | 1541
| 12 16.1 /P147 | Dismantling rammed moorum and boulders or rammed moorum and silt in foundation or under floor including all lead and lifts. |  | 58.76 | 119.716 |  |  | 178.476 | cum | 279 | 49795
| 13 1.26 /P12 | Carriage by mechanical transport upto 5 km lead:
| 1.26.3 | Dismantled Building debris (Mulba) |  | 265.779 | 409.2185 |  |  | 674.9975 | cum | 91.5 | 61762
| 14 1.27 /P13 | Extra for mechanical transport for every one km or part thereof beyond first 5 km lead.
| 1.27.3 | Dismantled Building debris (Mulba) |  | 265.779 | 409.2185 |  |  | 674.9975 | cum | 45 | 30375
2 | I.No. 1.1 /P-9 | Excavation for all types and sizes of foundations, trenches and drains or for any other purpose including disposal of excavated stuff upto 1.5 m lift and lead upto 50m (at least 5m away from the excavated area), including dressing and leveling of pits. | [12 empty] | 112
| 1.1.1 | In all types of soil | 133.65 |  |  |  | 23.328 | 156.978 | Cum | 185 | 29041
3 | Item.no.-1.6 Page-10 | Extra for every additional lift of 1.5 m or part thereof.
| 1.6.1 | All types of soils |  |  |  |  | 3.888 | 3.888 | cum | 26.5 | 103
3 | I.No. 1.18/P-11 | Providing and filling in plinth with sand/ Crusher dust and hard moorum under floor in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering, including dressing etc. complete. | 11.14 |  |  | 429.2325 | 3.896 | 444.2685 | Cum | 371 | 164824
4 | I.No. 3.1/P-23 | Providing and laying nominal mix cement concrete with crushed stone aggregate using concrete mixer in foundation, plinth and at ground level excluding cost of form work.
| 3.1.3 | 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40mm nominal size). | 7.43 |  |  |  | 2.596 | 10.026 | Cum | 2970 | 29777
5 | I.No. 3.3/P-23 | Providing and laying design mix reinforced cement concrete with crushed graded stone aggregate 20mm nominal size using batching plant, transit mixer and concrete pump, in all works upto plinth level excluding cost of form work.
| 3.3.1 | M-20 Grade | 57.26 |  |  |  |  | 57.26 | Cum | 4231 | 242267
| 3.3.2 | M-25 Grade |  |  |  |  | 13.2339 | 13.2339 | cum | 4298 | 56879
6 | I.No. 3.4/P-23 | Extra for laying PCC/RCC of any grade in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: | 30.4 |  |  |  | 7.6811 | 38.0811 | cum | 97.5 | 3713
7 | I.No. 1.17/P-11 | Filling from available excavated stuff (Excluding rock) in trenches, plinth, sides of foundation etc. in layers not exceeding 20cm in depth consolidating each deposited layer by ramming and watering with a lead upto 50 M. and lift upto 1.5 M. | 88.22 |  |  |  | 15.064 | 103.284 | cum | 65 | 6713
8 | I.No. 3.12/P-24 | Providing and placing in position reinforcement for R.C.C. work including straightening, cutting, bending, binding etc. complete as per drawings including cost of binding wire.All complete
| 3.12.2 | Thermo-Mechanically treated bars FE 500D | 6298.6 |  |  |  | 1228.976 | 7527.576 | Kg | 54.5 | 410253
9 | I.No. 2.1/P-16 | Providing and fixing form work including centring, shuttering, strutting, staging, propping bracing etc. complete and including its removal at all levels, for:
| 2.1.1 | Foundations, footings, bases of columns plinth beam, curtain wall in any shape and size and all type of wall below plinth level. | 180.77 |  |  |  | 27.128 | 207.898 | Sqm | 139 | 28898
| 2.1.5 | Columns, Pillars, Piers and likes- rectangular or square in shape | 138.6 |  |  |  | 12.8 | 151.4 | Sqm | 297 | 44966
| 2.1.3 | Window sills, anchor blocks, string course, bends, copings, bed plates and like. | 7.35 |  |  |  |  | 7.35 | Sqm | 184 | 1352
| 2.1.8 | Beams, lintels, cantilevers & walls | 52.86 |  |  |  | 18.464 | 71.324 | Sqm | 202 | 14407
| 2.1.13 | Weather shade, chhajja, Cornices and mouldings |  |  |  |  | 4.5825 | 4.5825 | Sqm | 294 | 1347
| 2.1.7 | Suspended floors ,roofs, access platform , balconies (plain surfaces)& shelves (cast in situ) |  |  |  |  | 30.215 | 30.215 | Sqm | 235 | 7101
10 | I.No. 7.5/P-45 | Brick work with modular fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in foundation and plinth in: | [11 empty] | 18.99
| 7.5.4 | Cement Mortar 1:6 (1 cement : 6 coarse sand) | 56.681 |  |  |  | 7.79 | 64.471 | Cum | 3263 | 210369
11 | I.No. 7.6/P-45 | Extra for brick work in superstructure above plinth level for every floor or part thereof in addition to rate for foundation and plinth: | 51.098 |  |  |  |  | 51.098 | cum | 121 | 6183
12 | I.No. 11.3/P-103 | Providing and making 15mm thick cement plaster on the rough side of single or half brick wall of mix:
| 11.3.4 | In Cement Mortar 1:6 (1 cement : 6 fine sand) | 337.375 |  |  |  | 50.835 | 388.21 | Sqm | 107 | 41538
13 | I.No. 11.2/P-103 | Providing and making 12mm thick cement plaster of mix:
| 11.2.4 | In Cement Mortar 1:6 (1 cement : 6 fine sand) | 307.975 |  |  |  | 45.715 | 353.69 | Sqm | 91.5 | 32363
14 | Amendment 14.56 | Providing and applying 2mm thick white cement based polymeric Exterior grade Putty _with minimum 3 coats applied @ 5.4 kg/ 10Sqm as per 17545:2021 (Product such as Birla trucare,JK wall putty, Berger Bison wall putty) to make the surface smooth and even with all toots tackles and labour etc. complete for the work. | 645.35 |  |  |  |  | 645.35 | Sqm | 86 | 55500
15 | Amendment 14.67 | Providing and applying on exterior surface with ECONOMY Exterior Emulsion paint of required shades to give protective and water proof finish minimum three coats applied @ 1.43 lit / 10Sqm up to final finish as per relevant I.S. Code 15489:2013 Type -2 Class D, C ( Glossy /Semi Glossy finish) (Product such as Asian Ace ,Dulux Promise Exterior, Berger Wall Masta ,Nerolac Suraksha Plus ,Nippon Shogun Opus, One Style Power Bright) inclusive of providing abro tape on edges and article and cleaning of door, windows, floor and surface as required with all tools tackles and labour etc. complete for the work (With 2 Year Warranty) | 645.35 |  |  |  |  | 645.35 | Sqm | 70 | 45175
16 | I.No. 9.3/P-80 | Steel work in tubular (round, square or rectangular hollow tubes etc.) structure in built-up sections, trusses and frame work including cutting, hoisting, fixing in position upto a height of 5m above plinth level, consisting of columns trusses, roof and bottom purlins, base plate, holding down bolts, wind ties bracing (if required), bolts, nuts and washers for fastening etc. complete with applying a priming coat of red oxide zinc chromate primer.
| 9.3.2 | Electric resistance or induction butt welded tubes Grade-300 | 1134 |  |  |  |  | 1134 | KG | 93.5 | 106029
17 | I.NO.9.6/P-80 | Steel work welded in built up sections/ framed work including cutting, hoisting, fixing in position and applying a priming coat of red oxide zinc chromate primer.
| 9.6.2 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 388.08 |  |  |  |  | 388.08 | kg | 68 | 26389
18 | I.NO .9.40 /P-84 | Providing and fixing concertina coil fencing with required dia 610 mm (having 50 nos. round per 6 metre length) up to 3m height of wall with existing angle iron 'Y' shaped placed 2.4 m or 3.00 m apart tied with G.I. staples and G.I. clips to retain horizontal including necessary bolts or G.I. barbed wire tied to angle iron all complete as per direction of Engineer-incharge with reinforced barbed tape (R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 98 |  |  |  |  | 98 | meter | 164 | 16072
19 | I.NO .9.39/P-84 | Providing and fixing in position G.I. barbed wire (93.8gram/m) to concrete/ wooden/ angle iron posts (straight or diagonal) including securing and screwing with G.I. tying wire, G.I. stapples, G.I.U-nails or steel pins etc., complete(Cost of posts, struts to be paid for separately) | 392 |  |  |  |  | 392 | meter | 9.4 | 3685
20 | 10.61 | Providing and fixing at all height false ceiling consisting of frame work "W" / "U" / "L" sections made of G.I. sheet with zinc coating of grade 120 consisting of angle cleats of size 25mm wide x 1.6mm thick with flanges of 22mm and 37mm at 1200mm centre to centre one flange fixed to the ceiling with dash fastener 12.5mm diax40mm long with 6mm dia bolts to the angle hangers of 25x25x0.55mm of required length, and other end of angle hanger being fixed with nut and bolts to G.I. channels 45x15x0.9mm running at the rate of 1200mm centre to centre to which the ceiling section 0.5mm thick button wedge of 80mm with tapered flanges of 26mm each having clips of 10.5mm at 450mm centre to centre shall be fixed in a direction perpendicular to G.I. channel with connecting clips made out of 2.64mm diax230mm long G.I. wire at every junction including fixing the gypsum board with ceiling section and perimeter channels 0.55mm thick 27mm high having flanges of 20mm and 30mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450mm centre to centre with 25mm long drive-all screws @ 230mm interval including jointing and fixing to a flush finish of tapered and square edges of the board with recommended filler, jointing tapes, finisher and two coats of primer suitable for board as per manufactures specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed including providing and fixing 12.5 mm thick tapered edge gypsum board conforming to IS: 2095- Part-I all complete as per drawing and specification and direction of the Engineer in Charge but excluding the cost of painting. | 56.498 |  |  |  |  | 56.498 | sqm | 658 | 37176
21 | 8.1 | Providing wood work in frames of doors, windows, clerestory windows and other frames wrought framed and fixed in position. | [5 empty] | 0 |  |  | 0
| 8.1.2 | Sal, bijasal, benteak, khair, haldu | 0.11017 |  |  |  | 0.050625 | 0.1608 | cum | 61051 | 9817
22 | 8.3 | Providing 40x5mm iron hold fast 40cm long including fixing to frame with 10mm bolts nuts and wooden plug and embedding in Cement Concrete 1:2:4 in blocks of size 30x10x15cm. | 12 |  |  |  | 6 | 18 | each | 72.5 | 1305
23 | 8.58 | Providing and fixing bright finished brass butt hinges with brass polished MS screws complete:
| 8.58.2 | 100x85x5.50 mm (Heavy Type) | 9 |  |  |  |  | 9 | each | 195 | 1755
24 | 8.60 | Providing and fixing bright finished brass sliding door bolt with nuts and brass polished MS screws complete:
| 8.60.1 | 300x16mm | 2 |  |  |  |  | 2 | each | 475 | 950
25 | 8.61 | Providing and fixing brass door latch with brass polished MS screws complete:
| 8.61.2 | 250x16x5 mm | 2 |  |  |  |  | 2 | each | 268 | 536
26 | 8.65 | Providing and fixing bright finished brass door handles with brass polished MS screws complete:
| 8.65.1 | 125 mm | 4 |  |  |  |  | 4 | each | 55.5 | 222
27 | 8.62.1 | Providing and fixing bright finished brass tower bolts (barrel type) with brass polished MS screws complete:
| 8.62.1 | 250x10mm | 4 |  |  |  |  | 4 | each | 276 | 1104
28 | 8.158 | Providing and fixing IS: 3564 marked aluminium die cast body tubular type universal hydraulic door closer with necessary accessories and screws etc complete. | 4 |  |  |  |  | 4 | each | 1450 | 5800
29 | 8.12 | Providing and fixing flush door shutters, conforming to IS : 2202 (Part-I), decorative type core of block board construction with frame of first class hard wood and well matched teak ply veneering with vertical grains or cross bands and face veneers on both faces of shutters excluding hinges.
| 8.12.2 | 35 mm. thick (single leaf) | 4.4308 |  |  |  | 5.04 | 9.4708 | sqm | 2005 | 18989
30 | 8.15 | Extra for double leaf shutter instead of single leaf. | 4.4308 |  |  |  |  | 4.4308 | sqm | 52 | 230
31 | 9.60 | Designing, providing and fixing aluminium frame work made of special aluminium section on building face with M.S. angle iron brackets fixed on RCC structure with S.S. hold fasteners, including providing and fixing two sided structural adhesive tape of appropriate grade (NORTON or equivalent), on aluminium sections for fixing aluminium/ glass panel, sealing on periphery of frame work, by providing EPDM gasket, silicon weather sealant between aluminium frame and building structure including hire charges of double scaffolding complete. | 912.88 |  |  |  |  | 912.88 | kg | 357 | 325898
32 | 8.36 | Providing and fixing commercial grade water proof ply for wall paneling on wooden frame with necessary nails complete as required.
| 8.36.1 | 19mm | 114.11 |  |  |  |  | 114.11 | sqm | 1231 | 140469
33 | 8.37 | Providing and fixing approved shade veneering on wood wall paneling complete as required. | 114.11 |  |  |  |  | 114.11 | sqm | 705 | 80448
34 | 8.39 | Providing and fixing teak wood moulded beading to doors windows frames including necessary screws and primary coat on exposed surface
| 8.39.4 | 50x12mm | 75.4 |  |  |  |  | 75.4 | mtr | 122 | 9199
35 | 8.60 | Providing and fixing bright finished brass sliding door bolt with nuts and brass polished MS screws complete: | 2.8 |  |  |  |  | 2.8 | each | 263 | 736
34 | 9.61 | Providing and fixing aluminium composite panels in approved panel sizes, thickness and shape on aluminium frame work on face of building. (Frame to be paid separately)
| 9.61.1 | 3mm thick | 0.84 |  |  |  |  | 0.84 | sqm | 1283 | 1078
36 | 9.47 | Providing and fixing aluminium work for doors, windows, ventilators and partitions made out of extruded aluminium standard sections (main section with minimum 1.5mm thickness) conforming to IS: 733, IS: 1285 mitred and jointed mechanically including aluminium cleats, neoprene weather stripping gasket beveled edge beading, screws duly fixed in wall/ floor with fixing clips or hold fasteners or bolts and nuts as required aluminium sections shall be anodized transparent or dyed to approved shade according to IS: 1868, minimum anodic coating shall be of grade AC-15. (Glazing to be paid for separately:
| 9.47.1 | For fixed portion |  |  |  |  | 21.645 | 21.645 | kg | 331 | 7164
| 9.47.2 | For shutter of doors, windows & ventilators including providing and making provision for fixing of fitting wherever required including the cost of PVC/ neoprene gasket required (Fittings shall be paid for separately). | 18 |  |  |  | 24.975 | 42.975 | kg | 338 | 14526
37 | 9.51 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with PVC/ neoprene gasket etc. complete. (Cost of aluminium snap beading shall be paid in basic item):
| 9.51.2 | With float glass panes of 5 mm thickness | 2.4 |  |  |  | 3.33 | 5.73 | sqm | 708 | 4057
38 | 9.48 | Extra for powder coated (minimum 50 micron) aluminium sections instead of anodized. | 2.4 |  |  |  | 46.62 | 49.02 | kg | 27 | 1324
39 | 19.14 | Providing and fixing 15 mm nominal bore C.P. brass fittings of approved make and conforming to IS:8931 including C.P. brass extension if required:
| 19.14.1 | Bib cock (400 grams) | 1 |  |  |  |  | 1 | each | 382 | 382
| 19.14.3 | Long body bib cock (500 grams) |  |  |  |  | 1 | 1 | each | 426 | 426
| 19.14.5 | Two way bib cock (800 grams) | 1 |  |  |  |  | 1 | each | 708 | 708
| 19.14.6 | Stop cock (concealed) (600 grams) |  |  |  |  | 1 | 1 | each | 494 | 494
| 19.14.14 | Soap dish plate | 1 |  |  |  |  | 1 | each | 163 | 163
| 19.14.16 | Towel rail (600mm long x 20mm dia) | 1 |  |  |  |  | 1 | each | 338 | 338
| 19.14.19 | Health foscet (hand jet) with flexible connection pipe (for WC) | 1 |  |  |  |  | 1 | set | 774 | 774
| 19.14.20 | CP brass water jet to be fixed in seat cover of WC with flexible connection pipe | 1 |  |  |  |  | 1 | set | 577 | 577
40 | 18.77 | Providing and fixing on wall face UV stabilized Unplasticised - PVC moulded fittings/ accessories having 3.2mm wall thickness for Rigid PVC pipes conforming to IS : 13592 (heavy) jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.
| 18.77.6 | Nahani trap 110x75mm | 1 |  |  |  |  | 1 | each | 90.5 | 91
41 | 18.29 | Providing and fixing 600x450 mm beveled edge 4mm mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. each 599.00 | 1 |  |  |  |  | 1 | each | 599 | 599
42 | 12.74 | Providing and fixing rectified glazed ceramic Floor tiles of 1st quality conforming to IS : 15622-2017 of approved make, in all colurs, shades over 20 mm thick bed of cement Mortar 1:3 (1 cement : 3 coars sand) and jointing with grey cement slurry @ 3.3 kg per sqm including pointing in white cement mixed with matching pigment complete.
| 12.74.1 | Size 300 x 300 mm thickness 7 to 8 mm | 2.795 |  |  |  |  | 2.795 | sqm | 779 | 2177
43 | 12.75 | Providing and fixing rectified glazed ceramic wall/dado tiles of 1st quality conforming to IS : 15622-2017 of approved make, in all colurs, shades on wall and dado over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coars sand) and jointing with grey cement slurry @ 3.3 kg per sqm including pointing in white cement mixed with matching pigment complete.
| 12.75.1 | Size 300 x 450 mm thickness 7 to 8 mm | 14.49 |  |  |  |  | 14.49 | sqm | 710 | 10288
44 | 19.15 | Providing and fixing stainless steel drain jali of approved make/quality.
|  |  | 1 |  |  |  |  | 1 | each | 51 | 51
45 | 18.17 | Providing and fixing vitreous china wash basin with C.I. brackets, 32 mm C.P. brass waste of standard pattern, including painting of brackets, cutting and making good the walls wherever required :
| 18.17.1 | White Size 550x450 mm | 1 |  |  |  |  | 1 | each | 1430 | 1430
46 | 18.4 | Providing and fixing vitreous china water closet (European type W.C. pan) with white ISI marked plastic seat and lid, 10 litre low level white P.V.C. flushing cistern (same colour), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required :
| 18.4.1 | White pedestal type | 1 |  |  |  |  | 1 | each | 2882 | 2882
47 | 14.48 | Distempering with washable distemper manufactured with the cow dung processing to give an even shade.
| 14.48.2 | On old work (one or more coats) | 7.59 |  |  |  |  | 7.59 | sqm | 30 | 228
48 | 14.56 | Providing and applying 2mm thick white cement based polymeric Exterior grade Putty _with minimum 3 coats applied @ 5.4 kg/ 10Sqm as per 17545:2021 (Product such as Birla trucare,JK wall putty, Berger Bison wall putty) to make the surface smooth and even with all toots tackles and labour etc. complete for the work. | 86.018 |  |  |  | 118.9025 | 204.9205 | sqm | 86 | 17623
49 | 14.65 | Providing and applying Luxury plastic emulsion paint with roller application minimum three coats applied @ 1.25 lit / 10Sgm up to final finish as per relevant Type -1 Class D, C, B & A (Glossy /Semi Glossy and Matt, Egg Shell or Satin finish) of required shade (Product such as Asian Royale Shyne,Dulux Velvet Touch, Berger Silk Luxury Emulsion ,Nippon Impression Pearl, Opus Pure Elegance) inclusive of providing abro tape on edges. and article and cleaning of door, windows, floor and surface as required with all tools tackles and labour etc, complete for the work. (with 4 Years Warranty ) | 86.018 |  |  |  |  | 86.018 | sqm | 107 | 9204
50 | 3.13 | Providing and laying damp proof course (upto 50mm thick) with plain cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded crushed stone aggregate 20mm nominal size) including form work. |  |  |  |  | 0.2772 | 0.2772 | cum | 4237 | 1174
51 | 1.25 | Supplying chlorpyrifos/ Lindane emulsifiable concentrate of 20% in sealed containers including delivery as specified.
| 1.25.1 | Surface treatment by spreading emulsion under floor,over the plinth area before laying base concrete@5 litres/sqm |  |  |  |  | 13 | 13 | sqm | 27.5 | 358
| 1.25.2 | Treatment of inside of plinth masonry wall on using diluted chemical emulsion @ 1.5 litre per hole, including drilling 12 mm diameter holes in plinth wall below plinth protection at the interval of 300 mm and plugging with cement mortar 1 :2 (1 cement : 2 Coarse sand). |  |  |  |  | 21.78 | 21.78 | mtr. | 19 | 414
| 1.25.3 | Treatment of outer side of plinth masonry wall using diluted chemical emulsion @ 1.5 litre per hole, including drilling 12 mm diameter holes in plinth wall at the junction of floor at the intervals of 300 mm and plugging with cement mortar 1 :2 (1 cement : 2 Coarse sand). |  |  |  |  | 21.78 | 21.78 | mtr. | 13.5 | 294
52 | 1.22 | Supplying chlorpyrifos/ Lindane emulsifiable concentrate of 20% in sealed containers including delivery as specified. |  |  |  |  | 2.6 | 2.6 | cum | 208 | 541
53 | 7.11 | Half brick thick brick masonry with fly-ash lime bricks (FaLG Bricks) confirming to IS:12894-2002 of class designation 4.0 in superstructure above plinth level upto plinth level:
| 7.11.2 | Cement Mortar 1:4 (1 cement : 4 coarse sand) |  |  |  |  | 9.81 | 9.81 | sqm | 382 | 3747
54 | 7.12 | Extra for half brick work in superstructure above plinth level for every story or part thereof in addition to rate for upto plinth level: |  |  |  |  | 17.6 | 17.6 | cum | 11 | 194
55 | 11.1 | Providing and making 6mm thick cement plaster of mix:
| 11.1.2 | In Cement mortar 1:4 (1 cement : 4 fine sand) |  |  |  |  | 22.3525 | 22.3525 | Sqm | 87 | 1945
56 | 8.137 | Providing and fixing stainless steel sliding door bolts with 16mm rod, 2.5mm thick flap, necessary stainless steel nuts bolts and screws etc complete.
| 8.137.1 | 300mm |  |  |  |  | 1 | 1 | each | 238 | 238
57 | 8.138 | Providing and fixing stainless steel door latch with 12mm rod, 2.5mm thick flap, necessary stainless steel screws etc complete.
| 8.138.1 | 300mm |  |  |  |  | 1 | 1 | each | 92.5 | 93
58 | 8.139 | Providing and fixing stainless steel tower bolts (Barrel type) with necessary stainless steel screws etc complete.
| 8.139.1 | 250 x10mm |  |  |  |  | 1 | 1 | each | 97 | 97
59 | 8.141 | Providing and fixing Stainless steel "D" shape door handles made of 10mm dia rod with necessary stainless steel screws etc complete
| 8.141.1 | 200 mm |  |  |  |  | 2 | 2 | each | 64 | 128
60 | 8.132 | Providing and fixing stainless steel butt hinges IS : 12817 marked with necessary stainless steel screws etc complete.
| 8.132.1 | 150x2.5mm (heavy) |  |  |  |  | 4 | 4 | each | 97.5 | 390
61 | 8.143 | Providing and fixing stainless steel hanging door stopper with necessary stainless steel screws complete.
| 8.143.2 | Double |  |  |  |  | 1 | 1 | each | 65 | 65
62 | 8.56 | Providing and fixing stainless steel wire mesh of average width of aperture 1.56mm with wire of dia 0.45mm to doors, windows and clerestory windows including 19x12mm teak wood beading etc. complete. |  |  |  |  | 2.205 | 2.205 | Sqm. | 649 | 1431
63 | 8.159 | Providing and fixing IS: 3564 marked aluminium extruded section body tubular type universal hydraulic door closer with double speed adjustment with necessary accessories and screws etc complete. |  |  |  |  | 1 | 1 | each | 1053 | 1053
64 | 9.15 | Providing and fixing M.S. grill of approved pattern made of M.S. flats or square or round bars welded to steel frame of windows etc. including applying a priming coat welded to frame with all necessary fitting complete including applying a priming of red oxide zinc chromate primer. |  |  |  |  | 417.96 | 417.96 | kg | 67.5 | 28212
65 | 12.76 | Providing and laying Glazed Vitrified floor tiles (GVT/ PGVT) with digital print of random design water absorption less than 0.05% and conforming to IS : 15622-2017 of 1st quality of approved make in all colours, shades and size mentioned below(+/-10mm) .laid on 20mm thick cement mortar 1:4 (1cement,4 coarse sand)including grouting the joints with white cement and matching pigments etc. complete.
| 12.76.1 | Size 600x600mm thickness 9 to 10mm |  |  |  |  | 17.83 | 17.83 | sqm | 964 | 17188
66 | 13.6 | 15mm thick Granite work (machine cut, table rubbed & mirror polished) for kitchen platform, vanity counters, window sills and similar locations of required size laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) including joints treated with white cement mixed with matching pigment including rubbing and polishing to edge moulding to give high gloss finish.
| 13.6.2 | Granite stone black |  |  |  |  | 1.5 | 1.5 | sqm | 3279 | 4919
67 | 12.56 | 25mm thick Local RAJIM/ Red Flag stone slab flooring laid over 20mm (Average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid over & jointed with grey cement slurry mixed with pigments to match the shade of the stone i/c grinding, rubbing and polishing. |  |  |  |  | 6.9 | 6.9 | sqm | 516 | 3560
68 | 19.6 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings. This included jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. EXTERNAL WORK
| 19.6.3 | 25 mm nominal outer dia pipes |  |  |  |  | 16.45 | 16.45 | Sqm | 165 | 2714
69 | 19.5 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. CONCEALED WORK including cutting chases and making good the walls etc.,
| 19.5.3 | 25 mm nominal outer dia .Pipes. |  |  |  |  | 8.6 | 8.6 | Sqm | 213 | 1832
70 | 18.22 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink without drain board as per IS 13983 with C.I. brackets and stainless steel plug 40 mm including painting of fittings and brackets, cutting and making good the walls wherever required :
| 18.22.1 | 345x445 mm bowl depth 200 mm. |  |  |  |  | 1 | 1 | each | 6298 | 6298
71 | 18.25 | Providing and fixing flexible P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
| 18.25.2 | 40 mm dia |  |  |  |  | 1 | 1 | each | 88.5 | 89
72 | 19.15 | Providing and fixing stainless steel drain jali of approved make/quality. |  |  |  |  | 1 | 1 | each | 51 | 51
73 | 19.18 | Providing and fixing gun metal non- return valve (horizontal type) of approved quality (screwed end)
| 19.18.1 | 25mm |  |  |  |  | 1 | 1 | each | 413 | 413
74 | 14.59 | Providing and applying Polymaric cement primer on all surface applied @ 0.80 litrs/10 sqm as per relevant I.S. code 15489:1974 (product such as Birla white primacoat/activcoat, Asian Trucare , Dulux interior cement primer, Opus Calista / I10 ) with all tool tackles and labour etc. complete for the work . |  |  |  |  | 118.9025 | 118.9025 | each | 29 | 3448
| 14.64 | Providing and applying Premium plastic emulsion paint with roller application minimum three coats applied @ 0.75 lit / 10Sqm up to final finish as per relevant I.S. Code 15489:2013 Type -1 Class D & C ( Glossy and Semi Glossy Finish) of required shade (Product such as Asian Apcolite Premium, Dulux Super Cover, Berger Easy Clean ,Nippon Breezee Metex Gold, Opus I-50 / Calista) inclusive of providing abro tape on edges and article and cleaning of door, windows, floor and surface as required with all tools tackles and labour etc. complete for the work. with 3 year Warranty) |  |  |  |  | 45.715 | 45.715 | Sqm | 84 | 3840
75 | 14.68 | Providing and applying on exterior surface with PREMIUM Exterior emulsion paint of required shade to give protective and water proof finish minimum 3 coats applied @ 1.40 lit / 10Sqm up to final finish as per relevant I.S. Code 15489:2013 Type -2 Class D, C (Glossy /Semi Glossy finish) (Produet such as Asian Apex,Dulux Weather Shield Prima E900, Berger Weathercoat Antidust, Nerolac Everlas Excel, Nippon Sumo Etra, Opus True flex) inclusive of providing abro tape on edges and articleand cleaning of door, windows, floor and surface as required with all tools tackles and labour etc. complete for the work.(With 3 Year Warranty.) |  |  |  |  | 50.835 | 50.835 | each | 84 | 4270
76 | 14.22 | Painting on new work (two or more coats) to give an even shade with
| 14.22.2 | Premium synthetic enamel paint |  |  |  |  | 5.58 | 5.58 | each | 47 | 262
77 | 19.48 | Constructing masonry Chamber 60x60x75 cm, inside with modular wellburnt clay bricks of 35 kg/ cm² in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100mm. top diameter, 160mm bottom diameter and 180 mm deep (inside) with chained lid and RCC each top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) necessary excavation foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick finished with a floating coat of neat cement complete as per standard design : |  |  |  |  | 1 | 1 | each | 4644 | 4644
2770509
-2770509
SUB ENGINEER SUB DIVISIONAL OFFICER EXECUTIVE ENGINEER | [11 empty] | 27.7051
P.W.D. DIVISION No.- 2 CONSTRCTION SUB DIVISION No.- 2 P.W.D. P.W.D. DIVISION No.- 2
RAIPUR (C.G.) RAIPUR (C.G.) RAIPUR (C.G.)