KPC GAS POWER CORPORATION LIMITED

(SUBSIDIARY OF KPCL)

# CIN No. U4010KA1996SGC020337

BID DOCUMENT FOR THE WORK OF

“Supply and Installation of LT panel at Ozone Switchgear, relocation of power supply distribution panel and laying of power supply cables to office, colony, canteen, pump house at YCCP Plant, Yelahanka”

OFFICE OF THE

EXECUTIVE ENGINEER (Ele-1) Y YELAHANKA

COMBINED CYCLE POWER PLANT,

KPC GAS POWER CORPORATION LTD.,

YELAHANKA, SN HALLI POST, DODDABALLAPURA ROAD, BENGALURU- 560064.

KARNATAKA.

| Sl.no. | INDEX |  |
| --- | --- | --- |
| 1 | ABSTRACT BID NOTIFICATION |  |
| 2 | BRIEF BID NOTIFICATION |  |
|  | 1.0 | BRIEF SCOPE OF TENDER |
|  | 2.0 | INSTRUCTIONS REGARDING E-PROCUREMENT/TENDER. |
|  | 3.0 | EARNEST MONEY DEPOSIT |
|  | 4.0 | CALENDER OF EVENTS |
|  | 5.0 | PRE QUALIFICATION REQUIREMENTS (PQR) |
|  | 6.0 | TWO COVER TENDER SYSTEM |
|  | 7.0 | TENDER REJECTION CONDITIONS |
|  | 8.0 | CONTRACT PERIOD |
|  | 9.0 | NOTIFICATION OF AWARD AND SIGNING OF AGREEMENT |
|  | 10.0 | CONTRACT PERFORMANCE GUARANTEE |
|  | 11.0 | LEGAL |
| 3 | SECTION-I: GENERAL CONDITIONS OF CONTRACT |  |
|  | 1.0 | DEFINITIONS AND TERMS |
|  | 2.0 | BRIEF DESCRIPTION REG PLACE OF WORK |
|  | 3.0 | SCOPE OF THE CONTRACT |
|  | 4.0 | EARNEST MONEY DEPOSIT |
|  | 5.0 | CONTRACTOR TO INFORM HIMSELF FULLY |
|  | 6.0 | DUTIES, RESPONSIBILITIES & OBLIGATIONS OF CONTRACTOR |
|  | 7.0 | RIGHTS OF KPC GPCL |
|  | 8.0 | TERMINATION OF CONTRACT |
|  | 9.0 | PRICES |
|  | 10.0 | PAYMENT TERMS |
|  | 11.0 | PENALTY |
|  | 12.0 | VALIDITY |
|  | 13.0 | REJECTION OF DEFECTIVE MATERIALS |
|  | 14.0 | INSPECTION |
|  | 15.0 | PRICE BID EVALUATION |
|  | 16.0 | COMPLETENESS OF CONTRACT |
|  | 17.0 | CONTRACT AGREEMENT |
|  | 18.0 | CONTRACTOR PERFORMANCE GAURENTEE/SECURITY DEPOSIT |
|  | 19.0 | FORCE MAJEURE |
|  | 20.0 | DEATH ,BANKRUPTCY ETC |
|  | 21.0 | DISCIPLINE |
|  | 22.0 | ARBITRATION |
|  | 23.0 | INSTITUTION OF SUITS |
|  | 24.0 | GENERAL |
|  | 25.0 | INSURANCE |
|  | 26.0 | SAFETY REQUIREMENTS TO BE OBSERVED BY THE CONTRACTORS |
|  | 27.0 | TRANSPORTATION |
|  | 28.0 | DEMURRAGE & WHARFAGE ETC., |
|  | 29.0 | CONSIGNEE |
|  | 30.0 | DRAWINGS |
|  | 31.0 | INSTRUCTION MANUALS |
|  | 32.0 | DESIGN IMPROVEMENTS |
|  | 33.0 | SPARE PARTS |
|  | 34.0 | OTHER TERMS AND CONDITIONS |
|  | 35.0 | GENERAL INSTRUCTIONS |
|  | ANN. A | ANNEXURE-A: FORM OF BID |
|  | ANN. B | ANNEXURE-B: EMD DECLARATION |
|  | ANN. C | ANNEXURE-C: SCHEDULE OF TURN OVER DETAILS |
|  | ANN. D | ANNEXURE-D: PROFORMA OF CONTRACT AGREEMENT |
|  |  | DECLARATION |
|  |  | SELF DECLARATION |
| 4 | SECTION-II: TECHNICAL SPECIFICATIONS |  |
|  | 1.0 | SCOPE OF WORK |
|  | 2.0 | GENERAL SCOPE OF WORK |
|  |  | SCHEDULE A |
|  |  | SCHEDULE B |

KPC GAS POWER CORPORATION LIMITED

(SUBSIDIARY OF KPCL)

CIN No. U4010KA1996SGC020337

# ABSTRACT BID NOTIFICATION

## (TWO COVER SYSTEM) (Through KPPP Portal Only)

No. KPCL/2026-27/EL/WORK_INDENT4153/CALL-3  	  Date:29.06.2026

Karnataka Power   Corporation   Limited   invites   bids   through   GOK   e-procurement   platform

https://kppp.karnataka.gov.in/. from the qualified bidders for the following work: “Supply and Installation of LT panel at Ozone Switchgear, relocation of power supply distribution panel and laying of power supply cables to office, colony, canteen, pump house at YCCP Plant, Yelahanka”

The brief scope of work includes Supply, Installation and Commissioning of 415V additional panel with suitable modules along with provision for fixing main and check Energy meters and extension of Ozone switchgear busbar to the new panel. Dismantling and transporting of LT distribution panel from ETP area to near BHEL office. Installation, supply and refurbishment and commissioning of outdoor LT distribution panel with all necessary control wiring. Laying of 185 sqmm 3.5C double run cable from extended switchgear to outdoor distribution panel. Laying of existing cable from main distribution panel to colony pole, OMS office/canteen distribution board and from distribution panel near tennis court to club building.  All accessories required for system completion along with to arrange and bear the cost of comprehensive transit insurance for all materials and equipment from the point of dispatch up to delivery at site, covering all risks, losses, or damages. Scope of work given is only indicative. Detailed scope has been described in the bid document which is binding on all the bidders

Those who have not registered in KPPP portal https://kppp.karnataka.gov.in/. may do so in order to participate in the bid.

The calendar of activities, bid notification containing the qualifying criteria for the bidders and other details can be accessed from KPPP portal https://kppp.karnataka.gov.in/.

Further details can be had from,

Office of the

Executive Engineer (Ele-1) Y,

Yelahanka Combined Cycle Power Plant,

KPC Gas Power Corporation Ltd., Yelahanka, S N Halli Post,

Doddaballapura Road, Bangalore- 560 064.

Mobile: 9480682848,

Email: eeeyccp@gmail.com

Web site: www.karnatakapower.com

Executive Engineer (E)Y

KPC Gas Power Corporation Limited

Bangalore

KPC GAS POWER CORPORATION LIMITED

(SUBSIDIARY OF KPCL)

CIN No. U4010KA1996SGC020337

# BRIEF BID NOTIFICATION

## (TWO COVER SYSTEM) (Through KPPP Portal Only)

No. KPCL/2026-27/EL/WORK_INDENT4153   	  Date:16.05.2026

KPC GAS POWER CORPORATION LIMITED invites bids through GOK e-procurement platform https://kppp.karnataka.gov.in/. from the qualified bidders for “Supply and Installation of LT panel at Ozone Switchgear, relocation of power supply distribution panel and laying of power supply cables to office, colony, canteen, pump house at YCCP Plant, Yelahanka”, in the State of Karnataka, India.

1.0 BRIEF SCOPE OF TENDER is as follows. Other details can be seen in the tender documents.

| Item No | Name of work | Tender processing fees (Non- refundable) | EMD Amount |
| --- | --- | --- | --- |
| 1 | “Supply and Installation of LT panel at Ozone Switchgear, relocation of power supply distribution panel and laying of power supply cables to office, colony, canteen, pump house at YCCP Plant, Yelahanka” | As per KPPP portal | Rs. 17,100/- |

Scope of work given is only indicative. Detailed scope has been described in the bid document which is binding on all the bidders.

2.0 INSTRUCTIONS REGARDING E-PROCUREMENT/TENDER.

- The bid is to be submitted through the GOK KPPP portal https://kppp.karnataka.gov.in/.  only.

- The bid submitted by the bidder and all correspondence and documents/annexures/schedules relating to the bid shall be written in the English language.

- Aspiring Bidders/Contractors, who have not registered in the GOK KPPP portal, may do so by registering through website https://kppp.karnataka.gov.in

- Tenders must be accompanied by earnest money deposit specified for the work in the bid document. Earnest money deposit will have to be in any one of the forms as specified in the Tender document.

- Tender documents may be downloaded from Government of Karnataka KPPP website https://kppp.karnataka.gov.in/ under login for contractors.

- After login to contractors, please scroll down to the right side bottom to see list of tenders, please click there, to find the details of NIT and download copy of the tender. Only interested contractors who wish to participate should remit on-line transaction fee for tender after registering in the portal. The transaction fee is non-refundable.

- Bidder/s shall upload scanned copies of all the required certificates pertaining to the pre- qualification as mentioned under “Pre-qualification requirements” clause. Whenever required, Bidders shall furnish the original certificates to the KPCL authorities failing which, his tender will be disqualified.

- Tenders (Cover- I & Cover -II) must be electronically uploaded (online through internet) within the date and time published in KPPP portal (TWO COVER TENDER SYSTEM). Documents furnished in Cover -I will be scrutinized to determine the qualifying criteria of the bidders. Opening of Cover-II will be intimated in advance to those bidders who are qualified.

- Bidders shall refrain from altering/ modifying/ revising the price bids after the date of dead line fixed for submitting of bids in the calendar of events or any extensions thereof, even though, if it is accepted by the portal. Date and time stamp of the portal shall be final in deciding the time and date of submission of bid. Decision of the Corporation in this regard is final and acceptable to all the bidders.

- For those tenderers, whose Technical bids satisfy the eligibility criteria (PQR) and who have furnished all the necessary documents and EMD, only their financial Bids will be opened.

- Rates shall be quoted in Tender Price Schedule (Financial Bid) in the website itself and in Indian Rupees only.

- The tender shall remain valid for a period, not less than One hundred and eighty days, after the deadline date for tender submission specified in e-procurement portal. A tender valid for a shorter period shall be rejected by the Company as non-responsive.

- Corrigendum/ modification/ corrections, if any, will be published in the website only. For any clarification on e-procurement or request for e-procurement training, bidder can contact HP HELPDESK at – 080-23010900/23010901.

3.0 EARNEST MONEY DEPOSIT:

- Tenders must be accompanied by Earnest Money Deposit of Rs 17,100/- (Rupees Seventeen Thousands one hundred only). The e-Payment for full amount should be paid online through KPPP portal using any of the following payment modes.

  - Credit Card

  - Direct Debit

  - National Electronic Fund Transfer (NEFT)

  - Over the Counter (OTC) (only through designated branches of ICICI Bank)

- Only on receipt of full EMD of Rs. 17,100/- along with Technical Bid, Price bid will be opened and considered for evaluation.

- The EMD furnished by unsuccessful bidders shall be returned after finalization of contract with successful bidder i.e., acceptance of LOA.

- For successful bidder, the EMD will be returned, only after entering in to agreement and furnishes the Security deposit in an acceptable form.

- EMD furnished by the bidder will be forfeited in case the bidder withdraws the offer during the validity or violates any clause stipulated in the bid or fails to execute the contract agreement.

No interest is payable to the bidder for Earnest Money Deposit.

4.0 CALENDAR OF EVENTS:

| 1 | Date of issue of NIT through e-portal | As per KPPP portal |
| --- | --- | --- |
| 2 | Last date and time for tender queries/clarifications |  |
| 3 | Last date for receipt of completed bids. |  |
| 4 | Date & time of opening of Technical Bid (Cover-I) |  |
| 5 | Date & time of opening of price bid (cover-II) | As per KPPP portal or Will be intimated later. |

5.0 PRE QUALIFICATION REQUIREMENTS (PQR):

The intending bidder shall satisfy the following minimum qualifying requirements and produce documentary evidences as indicated below, the fulfilment of which is a pre-requisite for opening of Cover –II (PRICE BID).

- The intending bidder shall hold a valid Class-I /class II  or above electrical contractor license issued by Electrical inspectorate, GOK.

- The Bidder shall have proven experiences in the field of supply, erection and commissioning of distribution LT panel in any one major industry/ public utility/power plant/substations. As a proof, the bidder shall upload the scanned copies of work completion certificate/performance certificate in any ONE of the preceding five financial years (2021-22, 2022-23, 2023-24, 2024-25 and 2025-26). As a proof, the bidder shall furnish single work done certificate of value not less than Rs.3.41 Lakhs issued by an Officer of Competent authority.

- The intending bidder in his name should have achieved an average annual financial turnover of Rs.6.83 lakhs in any two financial years of the last five years i.e., (2021- 22, 2022-23, 2023-24, 2024-25 and 2025-26). As a proof, the bidder shall submit the Profit and Loss account duly certified by the Chartered Accountant for the respective years & the same shall be uploaded along with the Technical bid. The bidder shall also submit the turnover certificate duly certified by the Chartered Accountant.

6.0 TWO COVER TENDER SYSTEM.

The   Bidder   should   upload   scanned   copies   of   the   following   documents   except   Price bid which has to be electronically filled in the web site itself, within the scheduled date and time indicated

in the calendar of events. KPC GPCL shall not be responsible for any improper uploading of tenders,

missing text or any other inconveniences during tender up-loading etc.

- COVER- I (Technical Bid)

The Cover - I shall contain the following:

    - Documents to meet the “PRE QUALIFICATION REQUIREMENTS”, specified in

clause 5.0.

    - Form of Bid in the form, as per Annexure A.

    - EMD Declaration, duly signed, as per Annexure -B

    - Schedule of financial turn over Details, as per Annexure-C.

    - Income tax declaration, along with attested copy of Pan Card.

    - Registration of Establishment / firm / company / individual issued by Govt. Authority.

    - Agency PF Registration Certificate.

    - Agency GST Registration certificate.

    - Agency Labor license certificate.

    - Agency ESI registration certificate.

The intending bidder shall upload relevant documents only and all documents shall be numbered page wise. Bidder shall furnish original copies of all relevant documents like declarations, on or before opening of technical bid (cover –I).

- COVER-II: (Price bid)

Cover–I (Technical Bid) will be opened first. Thereafter, Cover-II (Financial Bid) of those bidders who have furnished all details/ documents mentioned in Cover–I (Technical Bid) satisfactorily will be opened.

The bidder shall quote against each item in the KPPP portal for the entire scope of work, excluding all the applicable taxes, as per the schedule-B, Section-III, in the bid document.

7.0 TENDER REJECTION CONDITIONS:

- KPC GPCL reserves the right to assess the capability and capacity of the bidder to perform the contract, should the circumstances warrant such assessment in the overall interest of the KPC GPCL, if such assessment calls for rejection of any or all bids, KPC GPCL reserves right to reject any or all bids.

- Bidders shall not be under declaration of ineligibility for corrupt and fraudulent practices issued by the Government of Karnataka.

- Bidders shall attach scanned copies of all the certificates pertaining to the qualification requirement as mentioned under “PRE QUALIFICATION REQUIREMENTS” clause wherever required, bidders shall furnish the original certificates for verification, if required, to KPC GPCL authorities failing which, the bidder will be disqualified.

- Conditional bids, incomplete bids, bids with deviation, bids without EMD declaration, bids not properly uploaded and bids submitted late shall be rejected. EMD of such bids will be forfeited.

- The intending bidder shall not have been subject to forfeiture of EMD/foreclosure/termination of their contracts in KPC GPCL/Government or any other utility/blacklisting/procedure initiated for blacklisting for participation in tender issued by KPC GPCL or Government or any other utility in India during the past 3 years.

- Corporation reserves the right to reject or award whole or part of the work, should the situation so warrant. Likewise, Corporation reserves the right to reject any or all the tenders. However, reasons for rejection will be recorded as per KTPP act.

- Any agency whose performance in the ongoing projects of KPC GPCL is observed to be not satisfactory, then such agency shall be liable for rejection.

- Action will be taken as per EMD declaration, in case, if the bidder withdraws the offer during the validity or violates any clause stipulated in the bid and correspondingly the bid will be rejected.

- Corporation reserves the right to verify any information/documents furnished by the bidders, should the circumstances so warrant. In case the information or the documents furnished are found to be incorrect/false or invalid then, action will be taken against such bidders, as per EMD Declaration and correspondingly the bid will be rejected.

- Corporation reserves the right to reject the tender, if the bidder had participated in the previous tender for the same work and had quoted unreasonably high tender prices and could not furnish rational justification.

- Corporation reserves the right to reject the tender, if the bidder had record of poor performance such as abandoning the works, not properly completing the contract, inordinate delays in completion, litigation history, or financial failures etc.

8.0 CONTRACT PERIOD:

The Contract Period shall commence from the Date of Award / Effective Date as specified in the work order and shall remain valid until completion of the entire scope of work in accordance with the tender conditions, including any extensions granted by the Owner in writing.

8.1 Supply Period:

The Supply Period shall commence from the Date of Award and shall continue until completion of delivery, inspection, and acceptance of all materials, equipment, and spares covered under the supply scope of the contract at the designated site or stores, as per the tender conditions. Supply period shall be 12 weeks from the date of issue of Work Order.

8.2 Erection & Commissioning (E&C) Period

The Erection & Commissioning Period shall commence from the date of availability of materials at site and site readiness, as applicable, and shall continue until successful completion of erection, commissioning, and final acceptance of the system / equipment, in accordance with the contract specifications and terms.

    - Erection & pre commissioning: Erection & pre commissioning shall be completed within 15 days from the date of handing over of the site.

    - Testing and commissioning: Testing and commissioning of the systems shall be completed within 15 days from the date of handing over of work front from KPCL. The work-front will be available during annual overhauling or any available shutdown.

    - Total completion period of the contract including Supply, Erection & Commissioning   is  04 months (Including monsoon) subject to the date of handing over of site

9.0 NOTIFICATION OF AWARD AND SIGNING OF AGREEMENT

- The Tenderer whose Tender has been accepted will be notified of the award by the Corporation prior through a letter, which hereinafter and in the Conditions of Contract called the "Letter of Award (LOA)" of the Tender.

- The notification of award will constitute the formation of the Contract, subject only to the furnishing of a performance security in accordance with the provisions of bank guarantee/security deposit clause 10.0.

- The Agreement will incorporate all agreements between the Company and the successful Tenderer immediately after receipt of LOA/ Work Order/Job order the successful Tenderer will sign the Agreement and deliver it to Corporation.

- Upon the furnishing of the Security deposit by the successful Tenderer, the Corporation will promptly notify the other Tenderers that their Tenders have been unsuccessful.

10.0 CONTRACT PERFORMANCE GUARANTEE

Immediately after the receipt of LOA/ Work Order/Job order, the successful bidder shall furnish Security deposit to the extent of 5% of the contract value in the form of an Electronic Bank Guarantee (e-BG) issued by a commercial bank integrated with the central e-BG platform for due and faithful performance of the contract.

The e-BG must be submitted digitally in the prescribed format: physical/scanned copies are not accepted.

The e-BG shall be valid for 3 months beyond the contract completion, including any warrant/defect liability period.

The processing authority will verify the e-BG via the e-BG portal. Invalid or unverifiable guarantees will lead to bid rejection.

Upon successful contract completion, the e-BG will be released digitally duly adjusting the dues if any. No interest is payable to the supplier for the Security Deposit amount so furnished.

11.00 LEGAL:

- Suit or proceedings: Any suit or proceedings arising out of this contract shall be initiated in appropriate law courts at Bangalore.

- Arbitration: Any disputes or difference of claim arising out of or in connection with or relating to the present contract or the breach, termination or invalidity thereof shall be referred and settled under the Arbitrations Centre-Karnataka (Domestic and International) Rules 2012 by one or more Arbitrators appointed in accordance with its rules.

Any other information required may be obtained from the office of the undersigned during office

hours.

Office of the

Executive Engineer (Ele-1)/Y,  Yelahanka

Combined Cycle Power Plant, KPC

Gas Power Corporation Ltd.,

Yelahanka, SN Halli Post, Doddaballapura Road, Bangalore- 560 064.

Mobile: 9480682848,

Email: eeeyccp@gmail.com

Web site: www.karnatakapower.com

# SECTION – I

GENERAL CONDITIONS OF CONTRACT

SECTION – I

ENERAL CONDITIONS OF CONTRACT

- DEFINITION OF TERMS:

In construing these General conditions and annexed specification, the following words shall have the meaning herein assigned to them, unless there is something in subject or context inconsistent with such construction.

- The “CORPORATION/ COMPANY/ KPC GPCL/ OWNER” means KPC GAS POWER

CORPORATION LIMITED, a subsidy of Karnataka Power Corporation Limited which is a Govt. of

Karnataka under taking firm, having registered office at No.82, Race Course Road, Banglore-560 001, Karnataka State, and shall include its successors and assignees as well as its authorized officers/representatives.

- The “AGENCY / CONTRACTOR” means the agency to whom this work is awarded on successful bidding & shall include his heirs, legal representative’s successors & permitted assigns.

- “APPROVED” and “APPROVAL”, where used in the `Specification' shall mean, respectively, approved by and approval of the OWNER or the ENGINEER. When the words `Approved', `Approval', `Subject to Approval', `Satisfactory', `Equal to’, `Proper', `Requested', `As directed’, `Where Directed', `When Directed', `Determined by’, `Accepted', `Permitted', or words and phrases of like import are used, the approval, judgment, direction, etc., is understood to be a function of the OWNER or the ENGINEER

- “AWARD OF CONTRACT” shall mean issue of work order.

- “BID” means the offer of the BIDDER to the OWNER in response to the Bid enquiry.

- “BIDDER” shall mean the Firm/ Party who quotes against this BID

- “CONTRACT” shall mean the order and associated documents executed by the COMPANY and the BIDDER including other documents agreed between the parties or implied to form a part of the CONTRACT

- “CONTRACTOR” shall mean the SUCCESSFUL BIDDER whose BID has been accepted by the CORPORATION and who has entered into an agreement with the CORPORATION for the fulfillment of the CONTRACT and shall include his heirs, legal representatives, successors.

- “CONTRACT/ CONTRACT DOCUMENT” shall mean & include the following which shall be deemed to form an integral part of the contract.

    - Notification, instructions, agreements, general conditions of contract & all other documents.

    - Amendment / clarification to BID document, if any.

CONTRACTOR’s BID proposal including the letter of clarification thereto, minutes of the meeting between the CONTRACTOR and CORPORATION prior to the award of CONTRACT.  Letter of award/ work order issued by the CORPORATION to the CONTRACTOR.

- “CONTRACT PRICE” shall mean the price referred to in the letter of award/ work order and agreed to in the contractor document, after the negotiations, if any, which are to be paid to the BIDDER for the satisfactory work to be done, under this CONTRACT.

- “CONTRACT PERIOD” means the time specified for execution of the works in complete manner, including the extension allowed thereof.

- “DATE OF CONTRACT” shall mean the calendar DAY on which the OWNER and BIDDER have

signed the ‘CONTRACT’

- “EFFECTIVE DATE OF CONTRACT” The Contract shall be deemed to have come into force and effect from the date of issue of Letter of Award by the Owner to the Contractor provided the contract agreement has been executed and delivered by the parties.

- “ENGINEER’S INSTRUCTION’S” shall mean any instructions oral and/or in writing, details, directions and explanations issued by the ENGINEER or the EXECUTING DIVISION or the authorized representatives of OWNER from time to time during the `CONTRACT PERIOD'.

- “ENGINEER” shall mean Executive Engineer (E) Y, YCCPP, KPC GPCL, or such other Officer as may be appointed to act as the ENGINEER for the purpose of the contract and shall also mean and include the EXECUTIVE ENGINEER or other Officers of the EXECUTING DIVISION, directly in- charge of the work or any Part thereof.

- “ENGINEER-IN-CHARGE” shall mean the EXECUTIVE ENGINEER of the EXECUTING DIVISION, directly in-charge of the work or his duly authorized officer who shall direct and supervise the work.

- “EXECUTING DIVISION” shall mean EXECUTIVE ENGINEER (E)Y division, who is directly in- charge of the work or his duly authorized officer who shall direct and supervise the work.

- “FINAL COMPLETION” shall mean that all works indicated in the contract scope are completed as directed by the ENGINEER to the satisfaction of the corporation.

- “LETTER OF AWARD (LOA) / WORK ORDER (WO)” means the formal communication in writing by the OWNER to the CONTRACTOR of the acceptance of the BIDDER’s BID. The CONTRACT PERIOD will be reckoned as commencement date of the work for the purpose of monitoring of the work from the date of work order.

- “MONTH” shall mean English calendar month and “DAY” shall mean the English calendar day

- “NOTICE IN WRITING” or “WRITTEN NOTICE” shall mean a notice in writing, typed or printed or hand written characters sent (unless delivered personally) or by any agreed system of electronic transmission to the last known private or business address or registered office of the addressee and shall be deemed to have been received when in the ordinary course of post it would have been delivered.

- “PLANT/EQUIPMENT” shall mean and include any or all plant, machinery, systems, tools and other implements of all description necessary for the execution of the work in safe and workman like manner.

- “PROJECT” shall mean Yelahanka Combined Cycle Power Plant (YCCPP), KPC GPCL, located at Singanayakanahalli Post, Doddaballapur main road, Yelahanka, Bangalore, Karnataka-560064.

- “SITE” shall mean and include all the area in which operations in respect of the work are carried out.

‘SITE’ shall also mean the actual place of the proposed Project’ as detailed in the 'Specification' or other place where work has to be executed under the CONTRACT.

- “SPECIFICATION” shall mean collectively all the terms and stipulations contained in those portions of the `CONTRACT' known as General Conditions, the Specifications and such Amendments, Revisions, Deletions or Additions, as may be made in the Agreement and all written Agreements made or to be made pertaining to the method and manner of performing the Work or the quantities and qualities of the materials to be furnished under this `CONTRACT’

- The Words “BIDDER” and “TENDERER” shall have the same meaning wherever used in this contract.

- “WORK” shall mean detailed scope of work for this tender, which is prescribed in the section-II of this bid document.

- “WRITING” shall include any manuscript, typewritten, E-mail or printed statement, under or over signature and/or seal as the case may be.

- In case of any conflict relating to the meaning of the Terms and Conditions of Contract, Specification and Instructions mentioned hereinafter and as to the quality of workmanship or materials used on the works, the decision of the ENGINEER shall be final, conclusive and binding on all parties to the "CONTRACT".

- Whenever in this contract the words “Directed”, “Required”, “Ordered”, “Desired”, “considered” “Necessary”, or like words are used, it shall be understood that the directions, requirements, permissions, orders, desiring, etc., of the Executive Engineer(I)Y or other authorized Officers words. Likewise, “Approved”, “Acceptable”, “Satisfactory” to the Executive Engineer(I)Y or his authorized officers mean approved by or acceptable or satisfactory to the Executive Engineer(I)Y / unless any other meaning is otherwise intended.

2.0 	BRIEF DESCRIPTION OF THE PLACE OF WORK:

KGPCL has established 1x370MW Gas Based Yelahanka Combined Cycle Power Plant (YCCPP) located at north of Bangalore along Bangalore – Doddaballapura Hindupur road, situated at Singanayakanahalli Post, Yelahanka about 18km from Bangalore and 25km from Bangalore International Airport.

The main components of plants are Gas Turbine (9FB), HRSG (Boiler), Steam turbine, Boiler feed pumps, Gas Conditioning system, Compressed air system, RODM, CWP, Cooling towers, Chimney, raw water pump house, Ozonization system, Gas Turbine Generator and its Auxiliaries, Steam Generator and its Auxiliaries, Switchgear, HT motors, Battery chargers and battery banks, AC Plant, DG set, switch yards, transformer and other auxiliaries. The other establishments such as fire station, hospital, administrative buildings, ware houses, canteen, guest house, fabrication units, roads buildings, forest area, power lines etc., are also located in the plant premises. The plant is spreads all over the 102 acres area.

## PLANT SITE DATA

| 1 |  | Location | YCCPP: Singanayakanahalli post, Doddaballapur Road, Yelahanka, 18Km from Bengaluru city, Bengaluru urban district, Karnataka State |
| --- | --- | --- | --- |
| 2 |  | Elevation above sea level | 900 Mtr |
| 3 |  | Climatic conditions |  |
|  | 3.1 | Temperature : Monthly basis Mean of daily max. Mean of daily min. | 34ºC (in the month of April) 15.2ºC (in the month of January) |
|  | 3.2 | Temperature : annual basis Mean of daily max. Mean of daily min. | 32.3ºC 18.7ºC |
|  | 3.3 | Highest temperature recorder | 38.9ºC |
|  | 3.4 | Lowest temperature recorder | 7.8ºC |
|  | 3.5 | Relative humidity | Varies between 10% and 100% |
|  | 3.6 | Annual average rain fall | 492mm to 930mm (most of which occurs during May to October) |
|  | 3.7 | Wind speed Annual mean Maximum | 6.86Km/Hr 21.6Km/Hr |
| 4 |  | Seismic data (as per IS 1893) | Zone II (least active zone) as per the Seismic zone Map of India [IS1893 (Part 1) 2002] |

3.0 SCOPE OF THE CONTRACT:

The brief scope of work includes Supply, Installation and Commissioning of 415V additional panel with suitable modules along with provision for fixing Energy meters and extension of Ozone switchgear busbar to the new panel. Dismantling and transporting of LT distribution panel from ETP area to near BHEL office. Installation, supply and refurbishment and commissioning of outdoor LT distribution panel with all necessary control wiring. Laying of 185 sqmm 3.5C double run cable from extended switchgear to outdoor distribution panel. Laying of existing cable from main distribution panel to colony pole, OMS office/canteen distribution board and from distribution panel near tennis court to club building.  All accessories required for system completion along with to arrange and bear the cost of comprehensive transit insurance for all materials and equipment from the point of dispatch up to delivery at site, covering all risks, losses, or damages. Scope of work given is only indicative. Detailed scope has been described in the bid document which is binding on all the bidders

4.0 EARNEST MONEY DEPOSIT (EMD):

- Tenderers may note the fact that their registrations with any other authority do not entitle them for exemption from payment of EMD.

- If the tenderer has not furnished the requisite EMD in the specified format as mentioned in Annexure-B, the said tender will be rejected.

- The EMD of the tenderer is liable to be forfeited:

    - If he withdraws his tender or fails to execute the contract agreement after acceptance of the tender or fails to remit the Security Deposit, within the stipulated time period.

    - If he revises any of the terms and conditions of the contract during the validity period.

    - If, any of the documents/ information furnished by the bidder is found to be false after the submission of the tender.

- The earnest money deposit (EMD) will be released to the bidders only after placing work order & entering into an agreement with successful bidder and furnished the required Performance Security Deposit/ Bank Guarantee.

5.0 CONTRACTOR TO INFORM HIMSELF FULLY

- Bidders shall visit the site to access the site condition, supply required, and quantum of work Contractor shall be deemed to have carefully examined conditions & specifications. If he has any doubt, as to the meaning of any portion of contract document, he shall before signing contract set forth the particulars thereof & submit them to corporation in writing, in order that, such doubts may be clarified. Corporation will provide such clarification as may be necessary in writing to contractor. Any information otherwise obtained by corporation/ Engineer shall not in any way relieve Contractor of his responsibility to fulfill his obligation under the contract.

- The bidder may inspect the site, examine and obtain all information required and satisfy himself regarding matters and things such as access to site, communication, transport, right of way, the type, local working conditions, uncertainties of weather, obstructions and hindrances that may arise, etc., which may affect the work or cost there of shall be assessed by the bidder before submission of bid. The Corporation as a basis for any claim shall not accept ignorance of site conditions. The submission of bid by the bidder will be construed as evidence that such an examination was made and all the queries are cleared after pre-bid meeting, and any later claims/disputes in regard to rates quoted shall not be entertained or considered by the Corporation.

- Bid prices must be filled in the bidding schedule in e-portal and those received in any other form will not be accepted.

- KPC GPCL reserves the right to verify any information/ documents furnished by the bidders, should the circumstances so warrants in the overall interest of Corporation. In such cases, if the information or the documents furnished are found to be incorrect or invalid, then the EMD furnished by such bidders will be forfeited.

6.0 DUTIES, RESPONSIBILITIES & OBLIGATIONS OF CONTRACTOR:

- All the work shall be carried out under direction and satisfaction of the Engineer. Not with- standing the fact that the clearance or the approval has been given by the Engineer; the agency shall be responsible for the correction of positions, dimensions and the quality of workmanship.

- In the event of occurrence of any accidents at/near the site of work or in connection with execution of the work, a report shall be submitted by the agency immediately to the concerned Engineer, giving full details of the accident. The agency shall also report such accidents to all competent authorities, wherever such reports are required by them. Safety aspects are to be followed as per the industrial safety norms.

- Contractor should comply with the Instruction, which may be issued from time to time during progress of the work, for removal and re-execution of any work, which is not in line with the required specification in the opinion of the Engineer.

- The Corporation shall not be responsible for any of the unauthorized acts/any accidents and/or liable for any damage/injury sustained by agency in the course of their routine/scheduled work in and around the office and/or plant premises and no compensation payable to these effects to the personnel engaged by the Agency. The contractor shall keep KPC GPCL fully indemnified against any claim in this regard.

- The Agency shall maintain proper records and documentations on the work and present to the concerned officers, whenever called for and such supporting documents shall be submitted to KPC GPCL along with the bill.

- The Corporation shall not be held responsible or called upon to make good, any losses/costs incurred by, on account of factors beyond their control such as rain, earthquake, lightening, other natural phenomena, legal implications, etc., or for any reason whatsoever.

- The Contractor shall make his own arrangements for safeguarding/ maintaining the condition of his general tools & tackles, general consumables, required to carry out the Work.

- The work is of time bound nature and hence the agency shall attend the work immediately on intimation by the Executing Division and complete the Work, within the Committed Period.

- The contractor shall deploy qualified/ experienced staff for the Work at site and shall be responsible for the safety of the personnel engaged by them.

- Night works at site will be permitted subject to obtaining prior approval from Corporation. However, no additional payment will be made for night work.

- Necessary tools required for the work at site has to be arranged by the Agency itself.

- The contractor shall provide necessary PPE’s for their staff for working at site and he will be solely responsible for any injury or loss of life to their workmen during the execution of Work, under the subject contract.

- The agency has to make their own arrangement for loading, unloading, transportation and delivery of materials to site for any nature of work deliberated in the scope of work (Section-

II).

- The decision of the Engineer of the Work is final, with regard to the satisfactory performance of the contract and any matter arising thereon and is binding on the contractor.

- If the contract is awarded to the Agency by KPC Gas Power Corporation Limited, under any circumstances, as a Contractor/anybody on behalf of the Agency cannot claim for employment or any benefits from KPC Gas Power Corporation Limited/ Karnataka Power Corporation Limited.

- The Agency shall be wholly responsible for insurance compensation and shall take responsibility of dealing with all the statutory/legal matters.

- The contractor should have independent PF code. The contractor shall remit PF of labours to contractor permanent PF code Number only and “not to KPCL PF sub code”.

- The successful bidder should strictly adhere & ensure the minimum wages Act to the labours prevailing as per the Govt. rules & regulations. The bidder shall produce the documents whenever called for by the competent authority and remittance towards PF shall commensurate with the labour component of the work involved.

- In case of the death of the original contractor/closure of a company/firm after executing the agreement/ commencement of the work, his/its legal heir or an eligible registered contractor/firm /company who are willing to do the balance work can execute and complete the work at the contract amount, terms and conditions of the contract after obtaining approval from competent authority.

- The contractor shall keep KPC GPCL, fully indemnified and harmless against any action or proceedings, costs or claims, loss or any liability arising against any of the provisions of the above said acts. It shall be clearly understood that in the event of any violation of the provision of the laws and other in force, at their relevant time by him for which action has been taken by the enforcing agencies of the Government or others, KPC GPCL shall be within its rights to take action against him as deemed fit including recovery of the amounts, interest etc., if incurred by KPC GPCL from the amounts at his credit and also other means available.

- The prices quoted by the agency against each item shall be valid for the entire contract period and NO price escalation will be allowed. If minimum quantity specified in the price bid of this contract against each item is utilized before Contract Period, then the agency shall continue to provide the same services of the tender work, complying all the terms and conditions of this contract, till the end of Contract Period. However, if the quantities specified against each item in the contract fails to attain the minimum quantities mentioned in the price bid of this document, no additional commercial benefits for such unused quantities shall be provided to the agency by the OWNER.

7.0 RIGHTS OF KPC GPCL:

- To reserve its right to seek for any additional details/ documents required at any point of time during and after the process of bidding. If the agency fails to furnish such details, their offer is liable for rejection.

- Corporation reserves the right to accept or reject any Tender, and to cancel the Tender process and reject all Tenders, at any time prior to the award of Contract, without thereby incurring any liability to the affected Tenderer or Tenderers or any obligation to inform the affected Tenderer or Tenderers of the grounds for the Employer's action. Final acceptance of tender rests with KPC GPCL. KPC GPCL reserves the right to accept or reject any or all tender without assigning any reason thereof.

- The schedule of Work is liable to alteration by way of deletions or additions at the discretion of the Corporation.

- Executive Engineer (Ele-1)Y  Yelahanka, Bengaluru or  authorized Officers from Executing Division of the Corporation shall have the power, from time to time, in the execution of the work, to issue notice in writing and to instruct/direct the Contractor to make alterations / variations in the Work.

- If the Contractor fails to carry out the assigned works satisfactorily during the Contract, the Corporation shall have the power to enter upon and take possession of the works and to engage any other firm or agency to complete the work. The actual cost incurred by the Corporation (as assessed by KPC GPCL) due to such failure shall be recovered from the Contractor

- To prevent disputes and litigations, it shall be accepted as an inseparable part of this contract that in matters regarding Work, interpretation of contract, mode of procedure and carrying out the work, the decision of Executive Engineer (Ele-1)Y, Yelahanka, Bengaluru or  authorized Officers from Executing Division of the Corporation shall be final and binding on the Contractor.

- SUBLETTING: No part of the contract shall be sublet without written permission, of Executive Engineer (Ele-1)Y, Yelahanka, Bangalore, nor shall transfer be made by power of attorney authorizing others, to receive payments on the firm’s behalf. If accepted, then such subletting will be without any deviations in original contract terms and conditions.

- The Contractor shall be liable to replace/change/substitute the staff deployed by the Agency at site, if the Engineer instructs that the existing staff is not carrying out the Work satisfactorily at site. The Agency shall not be permitted to replace/change/substitute the staff deployed for the Work, unless otherwise instructed by Engineer

8.0 TERMINATION OF CONTRACT:

- If the Agency denies executing the work with due diligence and expedition or does not comply with the instructions given, the Corporation reserves the right to terminate the contract by giving one week notice.

- Agency shall maintain discipline/decorum within the Working premises at YCCPP. Violation will be viewed very seriously and if the ignorance is continued, the agency may be forcefully terminated.

- If the services of the Agency is not satisfactory, fails to carry out the works to the satisfaction of Corporation and if any of the conditions of the contract agreement is violated, the Executive Engineer (Ele-1), Yelahanka, Bangalore reserves the right to terminate the contract without notice prematurely and recover damages besides forfeiting security deposit in full and also from the other amounts, bills etc., payable to the Contractor. The decision of Corporation is final.

- If, any of the documents/ information furnished by the Agency is found to be false after award of the contract, the SD will be forfeited and the contract will be terminated.

- If the Firm fails to replenish the amount of security deposit attached/ adjusted for default of tenderer, the contract will be terminated.

- In the event of death or insolvency or insanity or imprisonment of the Contractor, the Corporation can terminate the contract by a notice in writing pasted at the place of work as per the contractor/ labour (Regulation and Abolition) Act. The Contractor shall also ensure that there shall be no violation of any of the labour laws by him. Under no circumstances the responsibility for violation of any of the Rules/ Provisions by the Contractor shall be taken by the Corporation.

9.0 PRICES:

1. Prices quoted shall be firm based on the scope of work deliberated. Any variation in rates of taxes, duties & levies will be to Corporation’s account on production of documentary evidence during the contractual period only. The prices quoted by the bidders/ firm shall exclude all the taxes, etc., of Government of Karnataka & Government of India, prevailing as on the date of NIT, travelling expenses, Statutory payments and any other Overheads.

2. TAX STRUCTURE:

GST at actual applicable shall be indicated separately along with basic price. Income-tax and other applicable taxes, if any, will be deducted at source at the prescribed rates from the bills of agency as per the statutory levies/ taxes in force at the time of payment of the bills. Necessary certificates of tax deducted at source (TDS) shall be issued by KPC GPCL to the agency.

3. The prices quoted by the agency against each item shall be valid for the entire contract period and NO price escalation will be allowed.

• If minimum quantity specified in the price bid of this contract against each item is utilized before Contract Period, then the agency shall continue to provide the same services of the tender work deliberated in this bid document, complying all the terms and conditions of this contract, till the end of Contract Period.

• Also, if the quantities specified against each item in the contract fails to attain the minimum quantities mentioned in the price bid of this document, no additional commercial benefits for such unused quantities shall be provided to the agency by the OWNER.

10.0 PAYMENT TERMS:

1. TERMS OF PAYMENT: The contractor shall submit the typed invoice upon successful completion of the work, duly supported by the hard copy of the relevant documents, which include Independent PF remittance records (issued by the PF authorities) and Insurance for the staff deployed for executing the Work, to Executive Engineer (Ele-1) Yelahanka, after obtaining work done clearances countersigned from all the Executing Division.

2. PAYING AUTHORITY: The payments shall be made after necessary statutory deductions, upon penalty deduction/recoveries, if any to be made, upon submission of bills to Executive Engineer (Ele-1) Yelahanka, after obtaining work done clearances countersigned from all the Executing Division. All the payment related to this contract will be made by the Assistant General Manager (Finance), YCCPP, Yelahanka, Bangalore. Payment to Contractor will be made by cheque drawn/NEFT/RTGS on any bank with which the Corporation has an account.

11.0 PENALTY:

  - The work assigned to the Agency should be carried out without any delay after the site clearance. If any delay in supply / erection and commissioning of the system, Penalty shall be imposed at the rate of 0.1.% per day subject to maximum of 10% of the total value of Contract.

  - If the agency fails to carry out the work as per the contract terms, or not execute the work to the satisfaction of the Engineer in charge, KPC GPCL will entrust the work to other agency at Contractor’s risk and cost. The actual cost incurred by the company (as assessed by KPC GPCL) for the execution of work will be considered for penalization and deducted from the running bill / outstanding payment of the Contractor apart from taking any action deemed necessary.

  - Any amount or amounts which becomes due and payable to KPC GPCL from the contractor shall be deducted from any amount or amounts becoming due and payable to the contractor under this or any other contract with KPC GPCL.

12.0 VALIDITY

1. The tender shall remain valid for a period, not less than 180 days, after the deadline date for tender submission specified in e-procurement portal. A tender valid for a shorter period shall be rejected by the Company as non-responsive.

2. If any tenderer withdraws his tender before the said period or makes any modification in terms and conditions of the tender, which are not acceptable to the Corporation, then the whole amount of EMD shall be forfeited to the Corporation.

3. The quoted price shall be FIRM for the entire period of the contract and Extension thereon. The agreed rate of contract holds good for entire period of contract.  And in the event of extension of contract period, the agency shall provide the services at the same rates, terms and conditions of the original contract and NO price escalation will be allowed.

13.0 REJECTION OF DEFECTIVE MATERIALS:

1. The Engineer will verify / inspect the materials after receipt at site. Engineer shall decide and notify in writing to the bidder about damage / shortage / rejections etc., If the materials or any portion thereof, is found defective, or fails to fulfil the requirements of the contract, the Purchaser shall give the bidder notice setting forth such defects or failure, and the bidder shall forthwith make the defective equipment or material good, or alter the same to make it comply with the requirement of the contract. Should he fail to do so within reasonable time, the Engineer may reject and replace at the cost of the bidder, the whole or any portion of the equipment or material, as the case may be which is defective or fails to fulfil the requirements of the contract. Such replacement shall be carried out by the Engineer within a reasonable time and at a reasonable price and where reasonably possible to the same specification and under competitive conditions. The bidder's full and extreme liability under this clause shall be specified by the payment to the Engineer of the extra cost, if any, of such replacement delivered as provided for in the original contract. Such extra cost being the ascertained, differences between the prices paid by the Engineer, under the provisions above mentioned for such replacement and the contract price for the material so replaced and the repayment of any sum paid by the Engineer to the bidder, in respect of such defective material. Should the Engineer not to replace the rejected material within a reasonable time the Bidder's full and extreme liability under this clause shall be satisfied by the repayment of all money paid by the Engineer to him in respect of such material.

2. In the event of such rejection, the Engineer shall be entitled to the use of the material in a reasonable and proper manner for a time reasonably sufficient to enable him to obtain other replacement material. During the period the rejected material is used commercially, the bidder shall not be entitled to any payment for such use.

14.0 INSPECTION:

The Engineer reserves the right for inspection of material and witnessing the tests, if considered necessary. For this purpose, the bidder shall notify the engineer one week in advance, the time and place of manufacture and test.

15.0 PRICE BID EVALUATION:

The LUMPSUM price, consolidating prices for all the works, quoted in figure (excluding GST) by the bidder in the e- procurement portal shall be called as the Total Quoted amount of the Bidder. The lowest of the total quoted amount of the e-procurement portal among the pre- qualified bidders shall be considered as the Lowest Bidder (L1). The contract price will be finalized, after final negotiation.

16.0 COMPLETENESS OF CONTRACT

The contract shall be complete & shall include all accessories, which even though not specifically mentioned in this specification, schedules, drawings etc., and are essential for satisfactory operation of the plant as a whole, as declared by Engineer as final completion.

The work shall be completed within 04 months from the date of issue of LOA/work order in all respects.

17.0 CONTRACT AGREEMENT

The Contract agreement shall be signed on a Rupees Five Hundred and in addition Rupees Five hundred for every Rupees ten lakhs or part thereof in excess or rupees ten lakhs, subject to a maximum of rupees ten lakhs stamp paper (purchased in the state of Karnataka) between the Contractor, and Corporation for the first ten lakhs of the contract price and the performance guarantee shall be furnished in the prescribed form of Bank guarantee/e-BG simultaneously by the Contractor for the proper fulfillment of the contract, within 10 days of issue of Letter of Award or detailed work order whichever is earlier.

The expenses for preparation and stamping of contract agreement shall be to the account of the Contractor. The Corporation shall be furnished free of cost an executed stamped counterpart of the agreement.

The agreement will be signed in one original. Contractor will be provided with one copy of the agreement and the original will be retained by the Corporation.

Subsequent to signing of the contract, the Contractor at his own cost shall provide the Corporation with at least 04(four) copies of the agreement within 10 days of the signing of the contract.

Corporation reserves the right to take action like forfeiture of Earnest Money Deposit and cancellation of the order, if the contractor fails to enter into Contract Agreement within the stipulated time.

18.0 CONTRACT PERFORMANCE GUARANTEE / SECURITY DEPOSIT:

Immediately after the receipt of LOI/ Work Order/Job order, the successful bidder shall furnish Security deposit to the extent of 5% of the contract value  in the form of an Electronic Bank Guarantee (e-BG) issued by a commercial bank integrated with the central e-BG platform for due and faithful performance of the contract.

The e-BG must be submitted digitally in the prescribed format: physical/scanned copies are not accepted

The e-BG shall be valid for 3 months beyond the contract completion, including any warrant/defect liability period.

The processing authority will verify the e-BG via the e-BG portal. Invalid or unverifiable guarantees will lead to bid rejection.

Upon successful contract completion, the e-BG will be released digitally duly adjusting the dues if any. No interest is payable to the supplier for the Security Deposit amount so furnished.

The Security Deposit furnished by the Contractor shall remain valid, binding, and enforceable for the entire Contract Period and throughout the Guarantee / Defect Liability Period. The Security Deposit shall be released only upon satisfactory completion of all obligations under the Guarantee / Defect Liability Period, including rectification of defects, if any, and upon certification to this effect by the Owner

19.0 FORCE MAJEURE:

1. At any time during the continuance of this contract, if the performance in whole or in part of any obligation under this contract shall be prevented or delayed by reasons of any war, hostility, acts of public enemy, acts of civil commotion, strikes, lockouts, sabotage fires, floods explosions, epidemics, quarantine restrictions or other acts of God (hereinafter referred to as eventualities) then, provided notices of the happening of any such eventuality is given by the agency to the Corporation within 15 days from the date of occurrence thereof, neither party shall, by reasons of such eventuality, be entitled to terminate this contract, nor shall have any claim for damages against the other in respect of such nonperformance or delay in performance/ deliveries under this contract shall be resumed as soon as practicable after such eventuality has come to an end or ceased to exist.

2. Provided that, if the performance in whole or part by the agency or any obligation under this contract is prevented or delayed by reasons of any eventuality for a period exceeding 120 days, both parties to the contract may at their option terminate this contract by a notice in writing.

20.0 DEATH, BANKRUPTCY, ETC.

If the Contractor dies or commits any act of bankruptcy or being a Company goes into liquidation except for reconstruction purposes or if his or its business is carried on by a receiver, the executors, successors, or other representatives in lieu of the estate of the Contractor or any such receiver, liquidator, or any person in whom the Contract may become vested, shall forthwith give notice thereof in writing to the Corporation and shall for one month, during which he shall take all reasonable steps to prevent stoppage of the work, have the option of carrying out the Contract subject to his or their providing such guarantees as may be required by the Corporation but not exceeding the value of the work for the time being remaining un-executed. In the event of the stoppage of the works, the period of option under this clause shall be 14 days only, provided that, should the above option not be exercised, the Corporation may determine the Contract by a notice in writing to the Contractor.

The power and provisions reserved to the Corporation in the last preceding clause on the taking of the work out of the Contractor’s hands, shall apply as for may be when the Contract is so determined.

21.0 DISCIPLINE:

Agency shall maintain proper discipline and decorum at site while dealing and executing the contract works so that there should not be any hindrance for smooth running of the Power station etc. Violation of the same by the agency will be viewed very seriously and the contract may be terminated if the same attitude is continued in spite of the notice issued by KPC GPCL.

22.0 ARBITRATION:

Any disputes or difference or claim arising out of or in connection with, or relating to the present contract or the breach, termination or invalidity thereof, shall be referred and settled under the Arbitrations Centre-Karnataka (Domestic and International) Rules 2012 by one or more arbitrators appointed in accordance with its rules.

23.0 INSTITUTION OF SUITS:

Any Suit or proceedings arising in any respect under this contract shall be subject to Jurisdiction in law courts at Bangalore, Karnataka only. It is agreed that no other court shall have jurisdiction to entertain any suit or proceedings even though part of the cause of action might arise within the jurisdiction of any such courts. Any dispute or difference or claim arising out of, or in connection with, or relating to present contract or the breach, termination or invalidity thereof shall be referred and settled under the arbitration Centre-Karnataka (Domestic & International) Rules 2012, by one or more arbitrators appointed in accordance with its rules.

24.0 GENERAL:

The Bid document is intended as a general description of quality envisaged for material, workmanship and of the finished work. It is not intended to cover minute details. The work shall be executed in accordance with the best modern engineering practice and shall be to the complete satisfaction of the CORPORATION. Special techniques approved by the Engineer shall be used if required and wherever it is found necessary.

25.0 INSURANCE:

The Contractor shall have proper insurance coverage during the contract period. The Contractor shall take the following insurance covers for the Works to be executed at Site.

a) Workmen’s Compensation Insurance:

This insurance shall protect the Contractor against all claims applicable under the Workmen’s Compensation Act, 1948 (Government of India). This policy shall also cover the Contractor against claims for injury, disability, disease or death of his or his sub-contractor’s employees, which for any reason are not covered under the Workmen’s Compensation Act, 1948. The liabilities shall not be less than:

Workmen’s Compensation - As per statutory provisions Employee’s Liability - As per statutory

26.0 SAFETY REQUIREMENTS TO BE OBSERVED BY THE CONTRACTORS IN PLANT

PREMISES:

The following instructions must be read carefully by the contractor. No relaxation is allowed. Irrespective of the urgency for speedy completion of the works, proper attention to the safety must at all times be ensured/paid.

GENERAL SAFETY REQUIREMENTS:-

- The contractor’s employee shall be at all times under proper supervision when working at KPC GPCL office premises.

2. KPC GPCL premises, Yelahanka, Bangalore, being restricted area, the agency shall obtain entry pass from the concerned competent authority of KPC GPCL for entry in to the plant premises. The Agency shall abide and follow the rules of safety & security as mentioned in the work order and also follow the instructions of the security officer at KPC GPCL office.

3. The contractor must ensure that all equipment’s brought to site are in good condition and are used, maintained and stored safely. Personal protective

clothing, safety gadgets and equipment’s must be ensured.

4. The contractors must keep their site of work, clean, tidy and clear off obstructions. All floors and walkways must be kept clear off materials, in order that, a secure footing can be maintained. Suitable precautions are to be taken so as not to pollute the atmosphere, ground and water.

5. If it is necessary to remove any type of floor section permission must be obtained from the concerned Engineer of KPC GPCL. Substantial secure barriers must be erected around any hole.

6. Only properly tested/certified lifting tackles and machines must be used. They must be kept under strict control and not be left lying about on site. The safe working load must not be exceeded. Knotted clothes and lashings are to be avoided to lift the equipment. While lifting, the area immediately below the operation and adjustment to winching equipment must be suitably barred.

7. It is the responsibility of the contractor to provide necessary safety equipment/gadgets to their staff, wherever necessary.

27.0 TRANSPORTATION

Transportation of goods up to destination inclusive of packing, forwarding, freight & insurance shall be the responsibility of the contractor.

28.0 DEMURRAGE & WHARFAGE ETC.,

All demurrage, wharfage & other expenses incurred at destination due to delay in clearance of materials for lapses on the part of the contractor shall be to the account of the contractor.

29.0 CONSIGNEE

The material should be dispatched on FOR destination basis, freight prepaid, securely packed (wherever necessary) as per the specification, so as to avoid the damage during transit in the name of Executive Engineer(E-1)Y, KPC GPCL, Yelahanka.

30.0 DRAWINGS

The contractor shall furnish all drawings & get the same approved within 1 Week, so that the delivery schedule required by the Corporation can be adhered to. All drawings submitted by contractor shall include sufficient details to indicate type, size, arrangements, weight of each component, break-down for packing & shipment, external connections, fixing arrangements required and interconnections with other equipment and materials, clearances and spaces required between various portions of equipment & any other information specifically requested in drawing schedules.

31.0 INSTRUCTION MANUALS

Contractor shall submit instruction manuals to corporation for all equipments covered under the contract. Instruction manuals shall contain full details, drawings of all equipment supplied, testing procedure, O&M procedure of equipments. The instruction manuals shall contain all operating information required including drawings & maintenance instructions. 6 copies of instruction manuals shall be furnished.

32.0 DESIGN IMPROVEMENTS

Corporation/contractor may propose change in specification of equipment/quality thereof & if the parties agree upon any such changes, specification shall be modified accordingly

It is understood that no extra payment will accrue to corporation on this account, if change asked for, for equipment found to be inadequate in operation or not operating properly.

33.0 SPARE PARTS

Supplier shall ensure the availability of spares. These spares must be promptly supplied as & when required by the purchaser. It is the responsibility of supplier to supply spare parts for the equipment supplied by them at least for a period of 15 years after guarantee period.

34.0 OTHER TERMS AND CONDITIONS:

- The contractor shall employ only employees above the age of 14 years for the work. The contractor shall not engage any workmen without the knowledge of the Engineer in charge.

- The contractor shall be responsible for fulfilling the requirement of all the statutory provisions

of Minimum wages Act-1948, payment of wages Act-1936, payment of Gratuity Act-972, Industrial dispute Act-1947, Contract Labour (Regulation and Abolition) Act-1970.  Employees Provident Fund Act 1952 and all the other Labour and Industrial enactments at his own cost and risk in respect of all the staff employed by him.  The contractor shall maintain the records/documents required to be maintained under these statutory enactment’s and authorized representative of KGPCL shall be entitled to inspect these records at any time.  In general, the contractor shall be responsible for strict compliance of all statutory provisions of the relevant labour Laws applicable from time to time and particularly of the Karnataka State for carrying out the above job.  If due to any reason whatsoever, KGPCL is made liable to pay any liabilities payable by the contractor under any of the said laws and enactment’s etc., for any reason whatsoever, the KGPCL shall recover the same from any dues payable by KGPCL to the contractor and / or from the security deposit of the contractor and from the running bills/pending bills.

- The contractor shall be responsible for his employees observing all the security and safety regulations, highest order of discipline, decorum and instructions as may be issued by KGPCL from time to time

- The above premises are the property of the KGPCL and the contractor is only permitted to enter into this property for carrying out contractual obligation only.  Whenever the contract is terminated or the contract comes to an end or KGPCL decides that the contractor should not be allowed to run the same, in that event, KGPCL will be entitled to restrain the contractor from entering KGPCL premises.

- In case, KGPCL suffers any loss etc., of whatever nature on account of the contractor or the employees of the contractor not following the security/safety regulations/instructions, the contractor shall be liable to bear all such losses as may be determined by KGPCL at its sole discretion and KGPCL shall have the right to recover all such losses from the contractor

- If the contractor fails to complete the work or any portion thereof as agreed upon or neglect to comply with any directions given to him, the authorized representative of KGPCL shall be competent to terminate the contract without any notice and the contractor shall also be liable to pay for any expenses, loss or damage which, KGPCL may incur or sustain by reasons, due to contractors default.

- The Executive Engineer (Ele-1) Y / Project head will be officers in charge for the above contract.

- This contract shall not grant any claims to the labour engaged by the contractor for any appointment in KGPCL either during the currency of the contract or any time at a future date.

- The Company will not be responsible for any of the unauthorized acts and or liable for any damage/injury sustained by agency or any other person in the course of their work/ duty in and around the office and plant premises or outside the plant.

- The contractor personnel’s shall remain within the plant area, when they are on duty and shall leave the premises once their duty is completed.

- If any work has to be done on running equipment's the contractor’s authorized supervisor should ensure that only under proper work permit should such works be carried out. It may clearly be noted that in no case will the corporation be the responsible for any accidents that may occur and for any compensation to be paid arising out of accident.

- The contractor shall provide all safety equipment's such as earplug, safety shoe, helmets, safety belts, hand gloves and uniform depending upon the area of work and shall comply with all the safety measures prescribed in the labour legislation and also by the management from time to time. if any contract worker fails to follow the safety measures he will be terminated.

35.0   GENERAL INSTRUCTIONS

  - Rates quoted shall be for all finished items of work including cost of all materials, all leads and lifts. And the rates quoted will be inclusive of all taxes.

  - Description of items given in Price Schedule shall be read along with Conditions of Section – I, II, III, Bid Notification, Detailed Technical specifications and all other components of the Bid documents.

35.3 All items shall be executed as per the latest IS/IEC standards, drawings and pattern and shall comply with the standard specifications and general conditions relating to the work, enclosed with the Bid and orders conveyed by competent authority in writing from time to time during the course of execution.

  - The Contractor shall make his own arrangements for providing all necessary plant, machinery and equipment required for the work and temporary sheds for housing the materials.

  - Any damage caused during erection to the floors, structure or civil works due to any reason what so ever shall be made good at the Contractor’s expenses until the work is turned over in a complete manner and handed over to the Corporation as per the agreement. The defective part if proved has to be replaced by the Contractor at his own cost, and no extra payment is admissible for the same.’

  - The rates quoted by the Contractor in the “Price Schedule” shall hold good till the fulfillment of the Contract without reference to the market fluctuations in cost of the materials, labour, etc.,

  - A list and description of special tools, gauges, and accessories etc., shall be furnished by the Contractor for erection of the equipment.

  - The Bidders shall quote their rates for the finished items of work and shall include all accessories even though they may not have been specifically mentioned in these specifications, Schedules, etc., but which are considered essential for the satisfactory operation of the system as a whole.

  - It is construed that the Bidder is fully aware of site constraints, and that they have collected / shall collect all the details by deputing their Engineers to site for first hand collection of all details viz. space constraints, co-ordination requirements,  etc as detailed above before submission of bid & also during Engineering stage.

  - The performance guarantee will be returned to the Contractor on successful performance of the contract on closure of contract. Any bid with a stipulation for settlement of dispute by reference to arbitration will not be accepted.

  - After evaluation of technical and pre-qualification bid (Part-I) and whose offer meet the PQR and technical specification of the tender/bid in complete manner will be accepted and only such bidders price bid (Part-II) will be opened.

  - Bidders whose contracts have been terminated/ foreclosed in KPCL or elsewhere during last 05 years and also those who do not meet the above qualifying requirement bids will not be considered.

  - Further information if required can be had from office of the Executive Engineer (Ele-1)Y,  KPC GPCL, SN Halli Post, Yelahanka, Bangalore-64, Karnataka.

Executive Engineer (Ele-1)Y

KPC Gas Power Corporation Limited

Bangalore.

ANNEXURE – A

FORM OF BID

(TO BE SUBMITTED ALONG WITH THE BID)

To,

Executive Engineer (Ele-1)/Y

Yelahanka Combined Cycle Power Plant,

KPC Gas Power Corporation Ltd.,

Yelahanka, SN Hall Post, Doddaballapura Road,

Bangalore- 560 064.

Sir,

We hereby submit tender for “Supply and Installation of LT panel at Ozone Switchgear, relocation of power supply distribution panel and laying of power supply cables to office, colony, canteen, pump house at YCCP Plant, Yelahanka”, in the State of Karnataka, India.

This bid will hold good for a period of 180 days from the date after the deadline date for tender submission specified in e-procurement portal.

1. I/ We note that withdrawal from this tender within the period referred to in Clause (1) above or failure to complete the works, after the order is placed, will entail the levy by the Executive Engineer (Ele-1), YCCPP, KPC GPCL, of a penalty as stipulated in the tender, as and by way of liquidated damages.

2. Further, I/ We hereby declare that none of our contract have been subject to forfeiture of EMD/foreclosure/termination of contract in KPC GPCL/KPCL/RPCL/government or whose performance has not been found satisfactory, while executing contracts with KPC GPCL/KPCL/RPCL/any other utility and have not been blacklisted for participation in tender issued by KPC GPCL/KPCL/RPCL or government or any other utility in India during the preceding 3 years.

3. I/ We also note that the Executive Engineer (Ele-1)Y, YCCPP, KPC GPCL does not bind himself to accept the lowest or any bid and reserves the right to consider/reject any or all the bids.

4. I/ We hereby agree to all the terms and conditions of the bid document. I/ We also note that Executive Engineer (Ele-1)Y, YCCPP, KPC GPCL, reserves the right to place orders for a portion of the items and/or quantities. I/ We hereby distinctly and expressly declare and acknowledge that before the submission of this bid, I/ We have carefully followed the instructions, read the relevant Indian Standards specifications and I/ We have made the examination of the Bid document and plans, specifications and quantities and of the locations/Site/project where such a works are to be done and have made myself/our self-aware of the scope and specification of the work to be done and availability of quantities of material required.

Yours faithfully Station:

Dated:

Signature :

Full address with seal:

ANNEXURE-B

EMD DECLARATION

To:

Executive Engineer (Ele-1)/Y

Yelahanka Combined Cycle Power Plant,

KPC Gas Power Corporation Ltd.,

Yelahanka, SN Hall Post, Doddaballapura Road,

Bangalore- 560 064

Sir,

In accordance with invitation for Bids under your Bid Document No. ……………………….. M/s .................................................................. having its Registered/Head Office at …………………………….…………(hereinafter called the ‘Bidder’) ........................................................................................... wish to participate in the said bid for………………………………………………..

[Name of Package]

I, hereby submit a declaration that the tender submitted by the undersigned, on behalf of the Bidder

…………………………… (Name of the Bidder), shall not be withdrawn or modified during the period of validity or extended period of validity.

I, on behalf of the Bidder… .............................................................. (Name of the Bidder), also accept the fact that in

case the tender is withdrawn or modified during the period of its validity /extended validity period or if we fail to sign the contract in case the contract is awarded to us or we fail to submit a Performance Security and Additional Performance Security, if any, before the deadline, then……………………………… (Name of Bidder) will be debarred for participation in the tendering process invited by KPC GPCL/KPCL/RPCL for a period of one year from the date of default and the EMD will be forfeited.

Date:                                                               Signature of the Authorized Signatory,

Place:                                                                                 Official Seal

ANNEXURE-C

SCHEDULE OF TURN OVER DETAILS

| SL NO. | FINANCIAL YEAR | TURN OVER IN LAKHS (Any two FY) |
| --- | --- | --- |
| 1 | 2021-22 |  |
| 2 | 2022-23 |  |
| 3 | 2023-24 |  |
| 4 | 2024-25 |  |
| 5 | 2025-26 |  |

SIGNATURE _________________________________________________________________

DESIGNATION ______________________________________________________________

COMPANY SEAL_____________________________________________________________

COMPANY ___________________________________________________________________

DATE _______________________________________________________________________

Name of the Chartered Accountant:

Sign and Seal:

ANNEXURE – D

## FORMAT FOR CONTRACT AGREEMENT

FIRST PARTY ........................................................ (in the name of the Contractor)

SECOND PARTY: KPC Gas Power Corporation Limited

## CONTRACT AGREEMENT

(TO BE EXECUTED ON NON-JUDICIAL STAMP PAPER)

(To be stamped in accordance with the Karnataka Stamp Act.)

(For value of Stamp paper, please refer Principal Accountant General (E&RSA),Karnataka office letter dated 06.06.2016)

Agreement No.                                                                                        	Date:

The AGREEMENT executed on this 	day of 2026 between the

KPC Gas Power Corporation Limited, A subsidy of Karnataka Power Corporation Limited which is registered under the Indian companies Act 1956 having its registered office at No.82, Shakthi Bhavan, Race Course Road, Bengaluru-560001 (hereinafter referred to as the “Owner or Corporation” which terms shall include its successors and assignees) of   the   one   part   and M/s………………..(indicate the name of the contractor) having its Registered Office at…………(indicate the complete address) and Corporate Office at…………………..(indicate the complete address)(hereinafter referred to as the “Contractor” which term shall include their successors and legal representatives) of the other part.

WHEREAS,

- The     (indicate the TIA) invited bid for the work of “ ” (indicate the name of work)vide e-tender No.  dated. (indicate the e-tender No. and date). The Contractor vide Offer Ref. No. dated (indicate the offer No. and date) submitted through e-procurement portal of Government of Karnataka (GoK).

- The bid of the Contractor has been accepted by the said (indicate the TAA) on behalf of the

KPC Gas Power Corporation Limited. Subject to the terms and conditions detailed vide Work Order (WO) No. dated (indicate the WO No. and date) (herein after    referred to as order) for sum of Rs…………(Rupees……Only)including Goods and Services Tax (GST) at ……….% (indicate applicable rates).

- The Contractor has agreed to execute the works on the terms & conditions as detailed in the Bid Document and subsequent amendments thereto for successful completion of the work.

- The Contractor having accepted the order was required to execute agreement and to furnish a

Bank Guarantee (BG)/Demand Draft (DD) of 5% of the contracted price, towards the Security

Deposit for the due fulfillment of the contract.

- The Contractor has furnished a Bank Guarantee / Demand Draft bearing No ............... dated (indicate the BG/DD No. and date of issue) in favor of the Corporation for a sum of Rs……….. (Rupees………..Only) towards the security deposit, for the due fulfillment of the agreement from the (indicate name of the Bank with complete address) and further agreed to renew it to the extent required to cover the full  contract period including guarantee period under the agreement.

NOW THIS AGREEMENT WITNESSETH AND IT IS HEREBY AGREED AS FOLLOWS:

- In this agreement, words and expressions shall have the same meanings as respectively assigned to them in the Bid document, General and Special Conditions of the Contract.

- The following documents shall constitute the Contract between the KPC GPCL and the Contractor. And each shall be read and construed as an integral part of the Contract.

- Bid Notice (E-tender No………dated ........ ).

- The Contractor Offer Ref. No………..dated ............ submitted through E-procurement portal, GOK.

- KPC GPCL WO No………..dated……

- The Contractor WO Acceptance letter Ref. No ............. dated… v.

- General Conditions of Contract

- . Technical terms and conditions

- Billing/Price Schedule.

- Any other Documents as may be necessary.

ix. Annexures and Schedules.

- In consideration of Payment to be made by the Corporation to the Contractor, the contractor hereby covenants with the KPC GPCL to execute the work in conformity in all respects with the provisions of the contract.

- The Corporation hereby covenants to pay the contractor, in consideration of the execution, completion of the work, the contract price at the time and in the manner prescribed by the contract.

- The Contract shall abide by the Indian Laws in force.

IN WITNESS WHEREOF, the parties KPC Gas Power Corporation Limited and M/s.

……………………. …… have set their respective hands and seals on the day, month and year first above written in the presence of the following witnesses.

### Signed on behalf of the Contractor 	Signed on behalf of KPC GPCL

In the presence of

| WITNESS-1 | WITNESS-1 |
| --- | --- |
| (Signature) | (Signature) |
| (Name& Designation in Block Letters) | (Name& Designation in Block Letters) |
| WITNESS-2 | WITNESS-2 |
| (Signature) | (Signature) |
| (Name & Designation in Block Letters) | (Name& Designation in Block Letters) |

INSTRUCTION FOR FILLING THE PROFORMA:

- Only stamp paper purchased in Karnataka State and in the name of the Contractors should be used.

- As per Karnataka Stamp Act., the amount of Stamp Paper will depend upon the Total Contract

Value and will be calculated as follows;

  - If the Total Contract Value does not exceed Rupees ten lakhs – the stamp value will be Rupees Five Hundred Only.

  - If the Total Contract Value exceeds Rupees ten lakhs – the stamp value will be Rupees Five Hundred and in addition Rupees One Hundred for every Rupees Ten Lakhs or part thereof in excess of Rupees ten Lakhs, subject to a maximum of Rupees five lakhs.

- All blank spaces should be filled in with appropriate information, any additions, deletions or corrections done subsequently should be countersigned.

KARNATAKA POWER CORPORATION LTD.

DECLARATION

(Declaration to be given by the Bidder at the time of submission of the completed BID)

Name of Work: “Supply and Installation of LT panel at Ozone Switchgear, relocation of power supply distribution panel and laying of power supply cables to office, colony, canteen, pump house at YCCP Plant, Yelahanka”

I/We have studied the site conditions, labour conditions and read the BID documents and related matters carefully and diligently, and that I/We have submitted the BID having studied, understood and accepted the full implications of the Bid documents.

The requirements of the BID documents as stated above will be fulfilled by me/us to the satisfaction of the ENGINEER.

I/We hereby declare that the Bid submitted by me/us has no conditions contravening the commercial conditions of this Bid.

BIDDER

Self-Declaration

(To Be Submitted by the Bidder)

I/We,…………………………………………………………………………………………………………………………………………………………………..………………………………………..…………………………………………………………………………………………………………………….. the undersigned Bidder, hereby declare that no Contract has been terminated / foreclosed by KPCL or elsewhere for the reasons attributable to the Contractor or performance has not been satisfactory while executing the Contract of KPCL with in last five years and further KPCL or elsewhere we have not been black listed stating that we are not eligible to participate in the Bid.

Signature of Bidder with seal

SECTION-II

TECHNICAL SPECIFICATIONS

TECHNICAL SPECIFICATION AND SCOPE OF WORK/SUPPLY

- INTRODUCTION:

KPCL is establishing Yelahanka Gas based combined cycle power plant (YCCP) of capacity 1X370MW at Yelahanka, Bangalore. The existing LTUG cable was laid during the year 1994 and the cable is damaged several times during various civil earth works and the same is restored through cable joints at many points. Hence, it is proposed to take up the work of “Power supply extension works from Ozone switchgear to Main distribution panel at YCCP Plant, Yelahanka”.

- SCOPE OF WORK

The list of works mentioned below is only indicative and all other incidental works in completion of work of “Power supply extension works from Ozone switchgear to Main distribution panel at YCCP Plant, Yelahanka” successfully are automatically covered in this scope of work.

- GENERAL SCOPE OF WORK

  - Excavation of cable trenches

  - Laying of LT power cables:

  - Installation of new panel and extension of supply from existing 415V switchgear:

3.4 Dismantling, transporting, painting, fixing and refurbishment of existing    distribution panel including all accessories:

  - Excavation of cable trenches

    - Excavation of earth by Manual means upto 600 mm trench width for laying of cable, as per technical specifications, including setting out, shoring, strutting, barricading, caution lights, removal of stumps and other deleterious matter, including dressing of excavated surfaces, disposing off or levelling the excavated earth or sorting & stacking the selected earth for reuse in a radius of 50 m. Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering and lift up to 1.5 m  including cost of labour, tools, usage& other appurtenances required to complete the work.

3.1.2 Supplying and filling in plinth, foundations / UG cable work with approved M-sand including watering, ramming, consolidating and dressing. The rate includes the cost of material, labour charges, required tools and plants etc., complete. Work shall be carried out as per the instructions of Engineer- in-charge of works as per the standard procedure.

3.2  Laying of LT power cables:

3.2.1 The power supply will be extended from OZONE switchgear panel – 400A MCCB by laying existing 1.1 kV, XLPE or Heat resistant PVC insulated, PVC extruded Inner Seath Armoured LTUG Cable 3.5 C x 185 Sqmm cable of length 210 meters of 2 runs (420 mtrs) in the trench from switchgear panel to the main distribution board and filling the trench with bricks, M-sand including watering, ramming, consolidating and dressing.

3.2.2 Laying of 70 sqmm existing cable of length 180 mtrs in trench and filling the trench with bricks, M-sand including watering, ramming, consolidating and dressing.

    - Supply and crimping of aluminum End terminal (Lug) lugs for 185sq.mm cables.

    - Conduits: Where cable cross roads or high-stress area, cables are encased in 150mm diameter RCC Hume pipes.

    - The contractor shall provide and fix 'DANGER' and 'CAUTION' boards at all necessary locations, including excavation sites, electrical installations, and hazardous areas. These boards must be placed prominently to warn personnel, vehicles, and the public.

3.3 Installation of new panel and extension of supply from existing 415V switchgear

| Annexure |  |  |
| --- | --- | --- |
| Bill of Materials For Indoor Additional Extended Panel |  |  |
| Sl.No. | Material Description | Qty |
| 1 | MCCB, 400A, 4P ,50kA, Th Based | 2 |
| 2 | Rotary Handles | 2 |
| 3 | Spreaders | 4 |
| 4 | AUX. Contactor and Trip block | 4 |
| 5 | Current Transformer 400/5A CL 0.2, 15VA | 6 |
| 6 | Multifunction Meter Cl 0.5 | 2 |
| 7 | Provision for fixing of Energy Meters on front door for single MCCB, 400 A | 2 |
| 8 | R,Y,B Phase Indication Lamps - LED - set | 2 |
| 9 | Indicating Lamps ON/OFF/Trip - set | 2 |
| 10 | MCB 4A ,4P, 10kA | 2 |
| 11 | MCB 2A ,DP, 10kA | 2 |
| 12 | Aluminum Busbar with Supports(as per drawing) | 1 |
| 13 | Supply panel shall match with exiting Panel | 1 |
| 14 | Wiring Materials & Consumables | 1 |

Requirements:

- Additional extended panel shall be placed next to the existing panel and busbar shall be extended from existing panel (18 F) as per drawing attached. The supplied panel shall be in line with the existing panel

- Incomer 400 A MCCB from Busbar - 2 Nos

- Moulded Case Circuit Breaker (MCCB) - Protection of Overload and Short circuit with adjustable thermal magnetic release, Microprocessor release shall have Earth Fault as per IS/IEC 60947-2 . (Icu=100% lcs). In 4P MCCB, all Poles should have protection for Short-Circuit/Over Load. For Microprocessor MCCBS Facility for segregating Priority and Non-Priority loads must be available in the MCCB. MCCB shall be provided with double insulation. Multi-pole breakers shall be designed to break all the poles simultaneously and they shall have a single mechanism

- All the wiring shall be carried out with 1.1KV grade stranded copper conductor wires with FRLS PVC insulation. For CT / PT circuits the wire size shall be 4.0 Sqmm, color coded and other circuits it will be 2.5 Sqmm

- ON/OFF/Trip indication/MFM shall be provided for MCCB's

- Provision for fixing Main and Check Energy Meters for 1 no. of MCCB O/G Module shall be provided on front side of the panel door

- The supplied panel shall be in line with the existing panel. Modules shall be fully draw out type. Modules shall be provided with ―Closed door operation feature wherein movement of the module from ―Isolated position to ―Service‖ position & vice-versa and power ON / OFF operation of the module shall be possible with the module door closed condition

- The Panel shall comply with the internal arc fault containment tests of 50 kA for 0.3S.as per IEC/TR 61641

- Panel shall be comply with IP54. Panel shall be coated with RAL 7032 with finished thickness of the paint film is between 50-80microns.

3.4 Dismantling, transporting, painting, fixing and refurbishment of existing distribution panel including all accessories

    - Dismantling, transportation within 250 meters, surface preparation, painting, reinstallation, fixing of existing panel. Complete refurbishment of one 250A incomer panel with 6 Nos. 125A outgoing feeders, including all necessary accessories to complete the work.

    - Necessary connections shall be done in the Main DB and switchgear panel with Indicators.

    - All distribution box, receptacle boxes, socket points, junction boxes etc., shall be suitably earthed according to the standards of the state Govt. Electrical Inspectorate and the relevant Indian Standards IS 3043/87.

    - All the electrical fixtures to be provided shall have/mention Brand to be supplied. However, Bidder shall get prior approval from tendering authority before supply.

    - All arrangements for transporting the men and materials to and from the work spot shall be the responsibility of the contractor and implicitly included in the scope of work.

    - All the electrical fixtures to be provided shall have/mention Brand to be supplied. However, Bidder shall get prior approval from tendering authority before supply.

    - The work shall be carried out diligently and as per site requirement.

    - All civil works required to be completed for the satisfactory completion of subject work are included in the scope of work.

    - Contractor must take and ensure all precautionary safety measures for execution of work satisfactorily.

    - The equipment are in operation/service round the clock, necessary care/precautions are to be followed for safety of men and equipment in the plant. Utmost safety/care is to be taken not to disturb the operation of the station equipment during erection of structures.

    - Necessary equipment, tools and tackles, Gas cylinder, cutting nozzle etc., ropes, welding machines, consumables, labours and testing instruments necessary for carrying out the subject work are to be brought by the contractor.

    - The contractor shall hand over the system only after it has been completely installed, wired, tested, commissioned in all respects by the contractor to the entire satisfaction of the KPCGPCL and after the said works/ equipment/partly commissioned works /equipment/system will not be taken over by the KPC GPCL. In this regard, the decision of the Executive Engineer (Ele-1)Y will be final and binding on the Contactor.

KPC Gas Power Corporation Limited

1x370 MW – Yelahanka Combined Cycle Power Plant

SCHEDULE – A

SCHEDULE SHOWING THE MATERIALS SUPPLIED FROM THE CORPORATION STORES AND THE RATE AT WHICH THEY ARE TO BE CHARGED

Name of Work: “Supply and Installation of LT panel at Ozone Switchgear, relocation of power supply distribution panel and laying of power supply cables to office, colony, canteen, pump house at YCCP Plant, Yelahanka”

| Sl No. | Particulars | Unit | Quantity | Place of delivery |
| --- | --- | --- | --- | --- |
| 1 | 185 sqmm 3.5C cable | meter | 420.00 mtr | YCCP Plant premises. |

Bidder		                                            Executive Engineer (Ele)-1/Y

KPC Gas Power Corporation Limited

1x370 MW – Yelahanka Combined Cycle Power Plant

SCHEDULE – B

Name of Work: “Supply and Installation of LT panel at Ozone Switchgear, relocation of power supply distribution panel and laying of power supply cables to office, colony, canteen, pump house at YCCP Plant, Yelahanka”

| Sl No | Particulars | unit | Qty | Rate |
| --- | --- | --- | --- | --- |
| 1 | Earth work excavation for pipelines/cables by Manual means upto 600 mm trench width, as per drawing and technical specifications, including setting out, shoring, strutting, barricading, caution lights, removal of stumps and other deleterious matter, including dressing of excavated surfaces, disposing off or leveling the excavated earth or sorting & stacking the selected earth for reuse in a radius of 50 m. Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering and lift upto 1.5 m including cost of labour, tools, usage& other appurtenances required to complete the work. In all kinds of soils. Depth upto 1.50m | mtrs | 370 |  |
| 2 | Supplying and filling in plinth, foundations / UG cable work with approved M-sand including watering, ramming, consolidating and dressing. The rate includes the cost of material, labour charges, required tools and plants etc., complete. Work shall be carried out as per the instructions of Engineer- in-charge of works as per the standard procedure. | m3 | 44.4 |  |
| 3 | Supply and laying of Brick - Table Moulded Bricks | each | 4000 |  |
| 4 | Transporting RMU (Conventional) unit from store to work spot including loading, unloading. (No separate crane charges)). (Shifting of existing panel to store) | No | 1 |  |
| 5 | Re-rolling of released existing cable by means of crane to stores including labour charges, lead, lift etc., as per the direction of Engineer-in-charge. | LS | 1 |  |
| 6 | Shifting of one number of panel, including transportation with a minimum distance of 250 meters, including surface preparation, painting, reinstallation, fixing, and complete refurbishment with all necessary accessories as per the direction of Engineer-in-charge. | LS | 1 |  |
| 7 | Providing & fixing of Caution/Danger Board at site including cost of materials & labour charges as per the direction of Engineer-in charge. | No | 10 |  |
| 8 | Laying of cable in Trench as per the direction of Engineer-in-charge- (0.210 km x 2 runs = 0.42km) - LT Cable - 120 to 240 Sqmm | KM | 0.42 |  |
| 9 | Laying of cable in Trench as per the direction of Engineer-in charge - LT Cable - 35 to 95 Sqmm | KM | 0.18 |  |
| 10 | Providing & laying of Hume pipe with collar 150 mm dia as per the direction of Engineer in charge. | Mtrs | 20 |  |
| 11 | Supplying Aluminium End Terminal lugs and crimping and wiring to terminal point - 185 Sqmm. | Nos | 40 |  |
| 12 | Supplying and fixing of LED type panel board indicating lamp with required color suitable for 230/440VAC. 50 Hz 12/24V D.C. | Each | 3 |  |
| 13 | Supplying and fixing Moulded Case Circuit Breaker (MCCB) 125 A 25 kA | No | 3 |  |
| 14 | Supplying and fixing Moulded Case Circuit Breaker (MCCB). 250 A 36 kA | No | 1 |  |
| 15 | Supply and Fixing of Extended Additional Panel for existing switchgear 415V panel as per BOM (Annexure) & as per the direction of Engineer-in-charge. | LS | 1 |  |

Bidder		                                                            Executive Engineer (Ele)-1/Y