## TENDER_ITEM_UPLOAD
To enable entering data into the sheet, please click on 'Enable Editing'.
Please insert items from 12th row.
Every row will be considered as a distinct item.
The row, in which the two fields- 'Item Code' and 'Description' are blank, will not be considered.
If 'CREDIT ITEM' is not entered, default value '0' will be taken.
If 'Calc Field' is not entered, default value 'N' will be taken.
MAX ITEM LIMIT IN EACH EXCEL FILE IS 1000
N.I.T. SCHEDULE FOR Strengthening of Berla- Kodwa-Deourbija- Karmu (MDR) Road Length 35/8 to 57/6=22.00 K.M. I/c Bridges & Culverts at Distt.- Bemetara
P.A.C. AMOUNT Rs. :- | [7 empty] | 1530.32 | LACS
SERIAL No. | Department | SOR | Year | Item Code | Description | UOM | Rate | Quantity | Amount
1 | PWD | PWD ROAD | 2015 | 2.3 a | Clearing and grubbing road land including uprooting rank vegetation, grass, bushes, shrubs, saplings and trees girth up to 300 mm, removal of stumps of trees cut earlier and disposal of unserviceable materials and stacking of serviceable material tobe used or auctioned up to a lead of 1000 meters including removal and disposal of top organic soil not exceeding 150 mm in thickness if required and as per relevant lauses of section- 200. In area of light jungle | hectare | 40680 | 6.6 | 268488
2 | PWD | PWD ROAD | 2015 | 3.11 | Scarifying existing bituminous surface to a depth of 50 mm (Scarifying the existing bituminous road surface to a depth of 50 mm and disposal of scarified material with in all lifts and lead up to 1000 meters) as per clause 305.4.3. | sqm | 23 | 1750 | 40250
3 | PWD | PWD ROAD | 2015 | 3.13 | Construction of sub-grade with Material Obtained from Borrow Pits/Borrow Area (Construction of sub-grade with approved material/selected soil having C.B.R.>8 (unless specified otherwise in the contract) obtained from borrow pits with all lifts and leads, transporting to site, spreading, grading to required slope and compacting to meet requirement of table 300-2) | cum | 250 | 7927.13 | 1981783
4 | PWD | PWD ROAD | 2015 | 3.25(i) | Construction of RCC Drain/Cover/Chamber Excavation for drain (Earth work in excavation for drain/chamber as per drawing and technical specification, including setting out, construction of shoring and bracing, removal of stumps and other deleterious matter, dressing of sides and bottom and backfilling with approved material.) | cum | 140 | 4093.44 | 573082
5 | PWD | PWD ROAD | 2015 | 3.25(ii) | Construction of RCC drain/chamber cover, Construction of RCC drain/chamber cover, placing in position, providing shuttering and concreting by using concrete mixer, compaction by vibration etc complete as per drawings and technical specifications excluding reinforcement. with RCC M-20 | cum | 4146 | 1477.44 | 6125466
6 | PWD | PWD ROAD | 2015 | 3.25(iii) | Supplying, Fitting and Placing un-coated HYSD bar Reinforcement in drain/cover/chamber complete as per Drawing and Technical Specifications. | MT | 56301 | 94.69 | 5331142
7 | PWD | PWD ROAD | 2015 | 4.1 A (b)(ii) | Granular Sub-base as per Table:- 400-1 Construction of granular sub-base by providing graded Material ,carriage of mixed Material to work site, spreading in uniform layers with motor grader on prepared surface watering, rolling and compacting with vibratory power roller at OMC to achieve the desired density, complete as per clause 401 Plant mix method (with Mechanically crushed stone only) (b) For Sub-base cum drainage layer or upper sub-base with (i) Grading-VI Material | cum | 1363 | 173.14 | 235990
8 | PWD | PWD ROAD | 2015 | 4.1 | Wet Mix Macadam (Providing, laying, spreading and compacting graded stone aggregate to wet mix macadam specification including premixing the Material with water at OMC in mechanical mix plant carriage of mixed Material by tipper to site, laying in uniform layers with paver in sub- base / base course on well prepared surface and compacting with vibratory roller to achieve the desired density as per clause 406.) | cum | 1434 | 4326.59 | 6204330
9 | PWD | PWD ROAD | 2015 | 4.13 (B) | Construction of Shoulders (Construction of shoulders as per clause 408 with selected soil from borrow pits / borrow areas having CBR not less than 12 and shall have L.L. and P.I. not more than 25% and 6% respectively, inclusive of all leads and lifts, including clearing and scrapping of existing surface, providing required cross fall, compacting. watering rolling and royalty charges etc. complete. (B) With smooth wheeled roller | cum | 277 | 4950 | 1371150
10 | PWD | PWD ROAD | 2015 | 4.17 | Providing and fixing guard stones 200 x 200 x 900 mm made of precast RCC M-20 grade fixed at 300 mm into the ground in P.C.C. 1:3:6 blocks of size 400 x 400 x 400 mm and given two coats of paint with white and black bands including excavation. | Each | 431 | 1200 | 517200
11 | PWD | PWD ROAD | 2015 | 5.1 (i) | Prime coat (Providing and applying primer coat with oil based bitumen emulsion (SS-1, grade confirming to IS:8887) on prepared surface of granular Base including clearing of road surface and spraying primer using mechanical means as per clause 502. on WBM/WMM surface @0.85 Kg/sqm. | sqm | 64 | 7140 | 456960
12 | PWD | PWD ROAD | 2015 | 5.2(i) | Tack coat Providing and applying tack coat with bitumen emulsion (RS-1, grade confirming to IS:8887) using emulsion pressure distributor on the prepared bituminous/granular surface cleaned with mechanical broom and as per clause 503. granular surfaces treated with primes @ 0.25 kg / Sqm | sqm | 15 | 149940 | 2249100
13 | PWD | PWD ROAD | 2015 | 5.2(ii) | granular surfaces treated with primes @ 0.30 kg / Sqm | sqm | 17 | 7140 | 121380
14 | PWD | PWD ROAD | 2015 | 5.19 (B) | Providing and laying leveling course / profile corrective course with bituminous macadam With minimum 40-60 TPH capacity hot mix plant using crushed aggregates of Grading-1 premixed with bituminous binder @ 3.1% transported to site and laid over a previously prepared surface with paver finisher to the required grade, level and alignment and rolled as per clause-501.6 and 501.7 to achieve the desired compaction complete in all respect and as per relevant clause section 500. With mechanical paver finisher | sqm | 5432 | 385 | 2091320
15 | PWD | PWD ROAD | 2015 | 5.4 B (ii) | Dense Bituminous Macadam (Providing and laying dense bituminous macadam with minimum 40-60 TPH capacity HMP using crushed aggregates of specified grading, premixed with bituminous binder @ 4.0 to 4.5% by weight of total mix of mix and filler, transporting the hot mix to work site, laying with a hydrostatic paver finisher to the required grade, level and alignment, rolling with smooth wheeled, vibratory and tandem rollers to achieve the desired compaction as per MORTH specification clause No.505 complete in all respects.) (B)With mechanical paver finisher (ii)for Grading-II(26.5 mm nominal size bitumen content 4.50%) | cum | 7916 | 7854 | 62172264
16 | PWD | PWD ROAD | 2015 | 5.5B (iii) | Bituminous Concrete (Providing and laying bituminous concrete with minimum 40-60 TPH capacity hot mix plant using crushed aggregates of specified grading, premixed with bituminous binder @5.0 to 6.0% by weight of total mix of mix and filler, transporting the hot mix to work site, laying with a hydrostatic paver finisher with sensor control to the required grade, level and alignment, rolling with smooth wheeled, vibratory and tandem rollers to achieve the desired compaction as per MORTH specification clause No. 507 complete in all respects) (B)With mechanical paver finisher (iii)for Grading II (13.2 mm nominal size) with bitumen 6.0 % | cum | 9812 | 4712 | 46234144
17 | PWD | PWD ROAD | 2015 | 6.1 | Dry Lean Cement Concrete Sub-base as per IRC:SP-49 (Construction of dry lean cement concrete Sub-base over a prepared sub-grade with coarse and fine aggregate conforming to IS: 383, the size of coarse aggregate not exceeding 26.5 mm, aggregate cement ratio not to exceed 15:1, aggregate gradation after blending to be as per table 600-1, cement content not to be less than 150 kg/cum, optimum moisture content to be determined during trial length construction, concrete strength not to be less than 10 Mpa at 7 days, mixed in a batching plant, transported to site, laid with a paver with electronic sensor, compacting with 8-10 tonnes vibratory roller, finishing and curing as per clause 601.) | cum | 2332 | 106.88 | 249244
18 | PWD | PWD ROAD | 2015 | 6.7 Amd. Dated 12.10.15 | Providing and laying un-reinforced Cement Concrete without Dowel bars including formworks and expansion contraction & longitudinal joints as per design and as per IRC-62-2014, over a prepared base a per approved mix design and finishing to lines and grade as per Drawing for Pavement thickness less than 200mm in Low Volume Roads. PCC Grade M30 with minimum Cement Content @375kg/cum | cum | 4391 | 213.75 | 938576
19 | PWD | PWD ROAD | 2015 | 8.14(i) | Kilo Meter Stone (Reinforced cement concrete M15grade kilometer stone of standard design as per IRC:8-1980, fixing in position including painting and printing etc) 5th Kilometer Stone(Precast) | each | 2436 | 4 | 9744
20 | PWD | PWD ROAD | 2015 | 8.14(ii) | Ordinary Kilometer Stone(Precast) | each | 1460 | 18 | 26280
21 | PWD | PWD ROAD | 2015 | 8.14(iii) | Hectometer stone (Precast) | each | 410 | 88 | 36080
22 | PWD | PWD ROAD | 2015 | 8.19 | Providing & Fixing Delineator made of M.S. Hollow Rectangular Pipe (Conforming to IS: 4923) of cross section 96mmx 48mm of 1.20 meter length. The top of the hollow pipe, welded and closed with 16 gauge M.S. Sheet. The height of the Delineator above ground level should be between 0.8 meter and 1.0 meter. The bottom of the delineator should be provided with holdfast of length 15cm on each side. Delineator should be painted with coat of Zinc Chromate stoving Prime and two coats of Black Stove Enamel (Oven Baked) paint with 3nos. 15 cm bands of white Retro-reflective Sheeting of Engineering Grade pasted around the pipe and 2 Nos. High intensity Grade Retro-reflective Sheeting of size 8 cm x 10cm pasted on the top of each side of Delineator and treated With HLVA & fixing the same in M-15 grade concrete block of size 30x30x30cms including transportation etc. complete. The construction and placement of the delineator must be as per IRC: 79. | each | 1913 | 80 | 153040
23 | PWD | PWD ROAD | 2015 | 8.24 | Boundary pillar (Reinforced cement concrete M15 grade boundary pillars of standard design as per IRC:25, fixed in position including finishing and lettering but excluding painting as per clause 807) | each | 384 | 440 | 168960
24 | PWD | PWD ROAD | 2015 | 8.30 (A) | Metal Beam Crash Barrier Type - A, "W" : Metal Beam Crash Barrier (Providing and erecting a "W" metal beam crash barrier comprising of 3 mm thick corrugated sheet metal beam rail, 70 cm above road/ground level, fixed on ISMC series channel vertical post, 150 x 75 x 5 mm spaced 2 m centre to centre, 1.8 m high, 1.1 m below ground/road level, all steel parts and fitments to be galvanized by hot dip process, all fittings to conform to IS:1367 and IS:1364, metal beam rail to befixed on the vertical post with a spacer of channel section 150 x 75 x 5 mm, 330 mm long complete as per clause 811.3) | meter | 2602 | 1050 | 2732100
25 | PWD | PWD ROAD | 2015 | 9.1 | Excavation for Structures (Earth work in excavation of foundation of structures as per drawing and technical specification, including setting out, construction of shoring and bracing, removal of stumps and other deleterious matter, dressing of sides and bottom and backfilling with approved material.) Ordinary soil Up to 3 m depth | cum | 146 | 1216.13 | 177555
26 | PWD | PWD ROAD | 2015 | 9.5 B | Providing and laying Reinforced Cement Concrete pipe NP 3 / prestressed concrete pipe. (Laying Reinforced cement concrete pipe NP3 /prestressed concrete pipe for culverts including fixing collar with cement mortar 1:2 but excluding bedding below pipes, excavation, protection works, backfilling, concrete and masonry works in head walls and parapets . ) 600 mm dia | meter | 2459 | 210 | 516390
27 | PWD | PWD ROAD | 2015 | 9.6 | Providing 1st class bedding below pipes with graded sand or other granular materials passing through 5.6 mm sieve as per clause 2904. | Cum | 759 | 125.58 | 95315
28 | PWD | PWD ROAD | 2015 | 9.9(i) | Plain cement concrete complete as per drawing and Technical Specifications PCC Grade M 15 | Cum | 3768 | 1506.45 | 5676304
29 | PWD | PWD ROAD | 2015 | 9.12 | Providing and laying Filter material underneath pitching in slopes complete as per drawing and Technical specification including trimming of slopes to proper profile and preparation of bed and as per clause 2504. | cum | 2079 | 411.75 | 856028
30 | PWD | PWD_BRIDGE | 2015 | 2.1 I (i) | Excavation for Structures Earth work in excavation of foundation of structures as per drawing and technical specification, including setting out, construction of shoring and bracing, removal of stumps and other deleterious matter, dressing of sides and bottom and backfilling with approved material including dewatering etc. complete. Ordinary soil Upto 3 m depth | cum | 146 | 483.76 | 70629
31 | PWD | PWD_BRIDGE | 2015 | 2.3 | Sand Filling in Foundation Trenches as per Drawing & Technical Specifications. | cum | 1234 | 240 | 296160
32 | PWD | PWD_BRIDGE | 2015 | 2.6 A (i) | Plain/Reinforced cement concrete in open foundation complete as per drawing and technical specifications. Height Upto 5m Using concrete mixer PCC Grade M15 | cum | 4613 | 45 | 207585
33 | PWD | PWD_BRIDGE | 2015 | 3.6 A (a)(i) | Providing and laying Plain/Reinforced cement concrete in sub-structure complete as per drawing and technical specifications section 1500, 1700 and 2200 Height upto 5m Using concrete Mixer P.C.C. Grade M-15 | cum | 4880 | 5.92 | 28890
34 | PWD | PWD_BRIDGE | 2015 | 3.6 D (a)(ii) | Height upto 5m Using concrete Mixer R.C.C. Grade M-25 | cum | 6339 | 139.06 | 881501
35 | PWD | PWD_BRIDGE | 2015 | 3.7 | Supplying, fitting and placing HSD (High Strength Deformed Steel) bars reinforcement in sub-structure complete as per drawing and technical specifications section 1600 and 2200. | MT | 69002 | 11.14 | 768682
36 | PWD | PWD_BRIDGE | 2015 | 3.9 | Back filling behind abutment, wing wall and return wall complete as per drawing and Technical specification 710.1.4 of I.R.C. 78 and 2200. (i) Granular material | cum | 905 | 29.7 | 26879
37 | PWD | PWD_BRIDGE | 2015 | 3.17 | Providing and fixing in position tar paper bearing for slab as per approved drawings and specification. | sqm | 66 | 72 | 4752
38 | PWD | PWD_BRIDGE | 2015 | 4.1 A I (a) (i) | Furnishing and Placing Reinforced/Prestressed cement concrete in super-structure as per drawing and Technical Specification sections 1500, 1600 and 1700 RCC Grade M25 For Solid Slab Super Structure Using Concrete Mixer Height upto 5m | cum | 6877 | 82.8 | 569416
39 | PWD | PWD_BRIDGE | 2015 | 4.2 | Supplying, fitting and placing HYSD bar reinforcement in super-structure complete as per drawing and technical specifications | MT | 70101 | 8.28 | 580436
40 | PWD | PWD_BRIDGE | 2015 | 5.4 A | Providing and laying Pitching on slopes laid over prepared filter media including boulder apron laid dry in front of toe of embankment complete as per drawing and Technical specifications as per section 2504. Stone/Boulder | cum | 2413 | 823.5 | 1987106
[8 empty] | Total :- | 153031701
[8 empty] | Say Rs. | 1530.32 Lacs
Sub Engineer |  |  |  |  | S.D.O. P.W.D. Sub Divsiion Saja |  |  | Executive Engineer P.W.D. Bemetara Division
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## REFERENCE
Department Name | Code | SOR Name | SOR | UOM Name | UOM Code | false7361
Bastar Urban Public Transport Society (BSTUPTS) | BSTUPTS | WRD | WRD | Percentage | %
Bilaspur Urban Public Transport Society (BSPUPTS) | BSPUPTS | ELECTRIC | ELECT | Per mile | %O
Chhattisgarh Department of Agriculture (CGDA) | CGDA | PHED | PHED1 | 1000 no. | 1000 no.
Chhattisgarh Handicraft Board (CGHCB) | CGHCB | RES_BUILDING | RESBDG | 1000No. | 1000No.
Chhattisgarh High Court, Bilaspur (CGHC) | CGHC | PMGSY SOR | PMGSY | Siemens Per meter | A/V
Chhattisgarh Housing Board (CGHB) | CGHB | NON SOR | NS | Acre | ACR
Chhattisgarh Infotech Promotion Society (CHiPS) | CHiPS | BRIDGE | PWD_BRIDGE | Activity unit | AU
Chhattisgarh Medical Services Corporation Ltd. (CGMSC) | CGMSC | PWD BUILDLING | PWD BLD | Bag | BAG
Chhattisgarh Police Housing Corporation Ltd (CGPHC) | CGPHC | PWD ROAD | PWD ROAD | Book | BK
Chhattisgarh Rajya Beej Evam Krishi Vikas Nigam (CGRBEKVN) | CGRBEKVN |  |  | Box | BOX
Chhattisgarh State Civil Supplies Corp. Limited (SCSC) | SCSC |  |  | Gallons per hour (US) | BPH
Chhattisgarh State Industrial Development Corporation (CSIDC) | CSIDC |  |  | Bottle | BT
Chhattisgarh State Mandi Board (CGSMB) | CGSMB |  |  | Cubic sentimeter /second | C3S
Chhattisgarh State Minor Forest Produce-Trading & Development Co-Operative Federation Ltd (CGMFPFED) | CGMFPFED |  |  | Canister | CAN
Chhattisgarh State Power Distribution Company Limited (CGSPDCL) | CGSPDCL |  |  | Carton | CAR
Chhattisgarh State Power Generation Company Limited (CGSPGCL) | CGSPGCL |  |  | Cubic Centimeter | CCM
Chhattisgarh State Power Transmission Company Limited (CGSPTCL) | CGSPTCL |  |  | Cubic decimeter | CD3
Chhattisgarh State Warehousing Corporation (CGSWC) | CGSWC |  |  | Centiliter | CL
Chhattisgarh Text Book Corporation (CGTBC) | CGTBC |  |  | cm | cm
Department of Animal Husbandry and Dairy (DAHD) | DAHD |  |  | Centimeter | CM
Department of Home Guard and Civil Defence Chhattisgarh (HGCD) | HGCD |  |  | Square centimeter | CM2
Department of Panchayat and Social Welfare (DPSW) | DPSW |  |  | Crate | CRT
Department of School Education (DSE) | DSE |  |  | Case | CS
Department of Technical Education (DTE) | DTE |  |  | Cu.Mtr. | Cu.Mtr.
Directorate of Fisheries (DF) | DF |  |  | cum | cum
Durg-Bhilai Urban Public Transport Society (DBUPTS) | DBUPTS |  |  | cum.km | cum.km
Food and Drug Administration (FDA) | FDA |  |  | Days | DAY
Health Department (HD) | HD |  |  | Degree | DEG
Indira Gandhi Krishi Vishwavidyalaya (IGKV) | IGKV |  |  | DFLT | DFLT
Korba Urban Public Transport Society (KRBAUPTS) | KRBAUPTS |  |  | Decimeter | DM
Koriya Urban Public Transport Society (KRYAUPTS) | KRYAUPTS |  |  | Drum | DR
Mineral Resources Department (MRD) | MRD |  |  | Dozen | DZ
Naya Raipur Development Authority (NRDA) | NRDA |  |  | EACH | EA
Panchayat and Rural Development (PARD) | PARD |  |  | each | each
Public Health Engineering Department (PHED) | PHED |  |  | each additional floor | each additional floor
Public Works Department (PWD) | PWD |  |  | each cut | each cut
Raigarh Urban Public Transport Society (RIGUPTS) | RIGUPTS |  |  | each test | each test
Raipur Collectorate (RC) | RC |  |  | each tree guard | each tree guard
Raipur Development Authority (RDA) | RDA |  |  | each tree guard | each tree guard
Raipur Urban Public Transport Society (RUPTS) | RUPTS |  |  | Enzyme Units / Milliliter | EML
Rajnandgaon Urban Public Transport Society (RNDGUPTS) | RNDGUPTS |  |  | Enzyme Units | EU
Rural Engineering Services (RES) | RES |  |  | Fluid Ounce US | FOZ
Sarguja Urban Public Transport Society (SUPTS) | SUPTS |  |  | Feet | FT
State Urban Development Agency (SUDA) | SUDA |  |  | Square foot | FT2
Urban Administration and Development Department (UADD) | UADD |  |  | Cubic foot | FT3
Water Resources Department (WRD) | WRD |  |  | Gigajoule | FY
|  |  |  | Gram | G
|  |  |  | gram act.ingrd /liter | G/L
|  |  |  | US gallon | GAL
|  |  |  | Gram Gold | GAU
|  |  |  | Gram act.ingrd. | GI
|  |  |  | Gram /liter | GLI
|  |  |  | Gram/Mol | GM
|  |  |  | Gram /square meter | GM2
|  |  |  | Gram/Cubic meter | GM3
|  |  |  | Gigaohm | GOH
|  |  |  | Gallons per mile (US) | GPM
|  |  |  | Gross | GRO
|  |  |  | Hour | H
|  |  |  | Hectare | HA
|  |  |  | hectare | hectare
|  |  |  | Hectoliter | HL
|  |  |  | hour | hour
|  |  |  | Hours | HR
|  |  |  | Joule /kilogram | JKG
|  |  |  | Joule /Mol | JMO
|  |  |  | Job | Job
|  |  |  | joint | joint
|  |  |  | Kilogram act.ingrd | KAI
|  |  |  | Kilogram /cubic decimeter | KD3
|  |  |  | kg | kg
|  |  |  | Kilogram | KG
|  |  |  | Kilogram/Mol | KGM
|  |  |  | Kilogram /Second | KGS
|  |  |  | Kilogram / cubic meter | KGV
|  |  |  | kg act.ingrd /kg | KIK
|  |  |  | Kilojoule/kilogram | KJK
|  |  |  | Kilojoule/Mol | KJM
|  |  |  | Kilo Litre | KL
|  |  |  | Km | Km
|  |  |  | Kilometer | KM
|  |  |  | km. | km.
|  |  |  | Square kilometer | KM2
|  |  |  | Kilometer/hour | KMH
|  |  |  | Kelvin/Minute | KMN
|  |  |  | Kelvin /Second | KMS
|  |  |  | Kilonewton per square meter | KNM
|  |  |  | Kilopascal | KPA
|  |  |  | Kilotonne | KT
|  |  |  | Kilovoltampere | KVA
|  |  |  | US Pound | LB
|  |  |  | Liter per 100 km | LHK
|  |  |  | litre | litre
|  |  |  | Liter /Minute | LMI
|  |  |  | Liter /Molsecond | LMS
|  |  |  | LOT | LOT
|  |  |  | Liter Per hour | LPH
|  |  |  | Lumpsum | LS
|  |  |  | LITRE | LT
|  |  |  | Meter | M
|  |  |  | 1/square meter | M-2
|  |  |  | Mol per cubic meter | M:M
|  |  |  | Megawatt hours | M..
|  |  |  | M.T. | M.T.
|  |  |  | Meter /Hour | M/H
|  |  |  | Mol per liter | M/L
|  |  |  | Meter /second | M/S
|  |  |  | Square meter | M2
|  |  |  | Square meter/Coat | M2C
|  |  |  | Square meter/second | M2S
|  |  |  | Cubic meter | M3
|  |  |  | Cubic meter /Hour | M3H
|  |  |  | Cubic meter/second | M3S
|  |  |  | Man-Month | Man-Month
|  |  |  | Megajoule | MEJ
|  |  |  | meter | meter
|  |  |  | metre | metre
|  |  |  | Milligram | MG
|  |  |  | Milligram/liter | MGL
|  |  |  | Megohm | MGO
|  |  |  | Milligram /cubic meter | MGQ
|  |  |  | Megavolt | MHV
|  |  |  | Mile | MI
|  |  |  | Square mile | MI2
|  |  |  | Minute | MIN
|  |  |  | Microsecond | MIS
|  |  |  | Milliliter | ML
|  |  |  | Milliliter act.ingr. | MLI
|  |  |  | Millimeter | MM
|  |  |  | Square millimeter | MM2
|  |  |  | Cubic millimeter | MM3
|  |  |  | Meganewton | MN
|  |  |  | Millinewton/meter | MNM
|  |  |  | Months | MON
|  |  |  | Miles per gallon (UG) | MPG
|  |  |  | Millimol per liter | MPL
|  |  |  | Millipascal seconds | MPS
|  |  |  | Millisecond | MS
|  |  |  | Meter/second squared | MS2
|  |  |  | Microsiemens per centimeter | MSC
|  |  |  | METRIC TON | MT
|  |  |  | MTR | MTR
|  |  |  | Nanoampere | NA
|  |  |  | Nanometer | NAM
|  |  |  | Number Days | ND
|  |  |  | Kilonewton | NI
|  |  |  | Newton/meter | NM
|  |  |  | Newton/Square millimeter | NMM
|  |  |  | Number | NO
|  |  |  | Nanosecond | NS
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | one RCC jaali tree guard | one RCC jaali tree guard
|  |  |  | Ounce | OZ
|  |  |  | Points | P
|  |  |  | P.cmt | P.cmt
|  |  |  | P.cumt. | P.cumt.
|  |  |  | P.KG. | P.KG.
|  |  |  | P.Kit | P.Kit
|  |  |  | P.Km. | P.Km.
|  |  |  | P.mtr | P.mtr
|  |  |  | P.Pair | P.Pair
|  |  |  | P.Point | P.Point
|  |  |  | p.sq.mtr | p.sq.mtr
|  |  |  | P/sq.Mt. | P/sq.Mt.
|  |  |  | Pair | PAA
|  |  |  | Pack | PAC
|  |  |  | Pad | PAD
|  |  |  | Pair | Pair
|  |  |  | Pallet | PAL
|  |  |  | Pascal second | PAS
|  |  |  | Piece | PC
|  |  |  | Megavoltampere | PCT
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cm height per letter | per cm height per letter
|  |  |  | per cubic centimeter | per cubic centimeter
|  |  |  | Per Km. | Per Km.
|  |  |  | per letter | per letter
|  |  |  | Per mtr | Per mtr
|  |  |  | per pouch | per pouch
|  |  |  | per test | per test
|  |  |  | per tonne | per tonne
|  |  |  | per tonne capacity | per tonne capacity
|  |  |  | per.mtr | per.mtr
|  |  |  | 1/minute | PMI
|  |  |  | Pikofarad | PO
|  |  |  | Point | Point
|  |  |  | Parts per billion | PPB
|  |  |  | Parts per million | PPM
|  |  |  | Parts per trillion | PPT
|  |  |  | Number of persons | PRS
|  |  |  | Picosecond | PS
|  |  |  | Pound Per Sq inch | PSI
|  |  |  | Pint, US liquid | PT
|  |  |  | Per Ton Per KM | PTPK
|  |  |  | Kilomol | QML
|  |  |  | QUINTAL | QNTL
|  |  |  | Quart, US liquid | QT
|  |  |  | quintal | quintal
|  |  |  | Nanofarad | R-U
|  |  |  | R.M. | R.M.
|  |  |  | Millifarad | RF
|  |  |  | Gramm/cubic centimeter | RHO
|  |  |  | Rim | RIM
|  |  |  | Ream | RM
|  |  |  | RUNNING METRE | RMT
|  |  |  | Role | ROL
|  |  |  | Roll | Roll_UD
|  |  |  | Set | Set
|  |  |  | SET | SET
|  |  |  | SHEET | SHEET
|  |  |  | Sq.mtr | Sq.mtr
|  |  |  | Square Meter | sqm
|  |  |  | Thousand Hours | THR
|  |  |  | Tonnes | TO
|  |  |  | Ton/Cubic meter | TOM
|  |  |  | US Ton | TON
|  |  |  | Tone | Tone
|  |  |  | Tonne | Tonne
|  |  |  | Thousand | TS
|  |  |  | UNIT | UNIT
|  |  |  | Voltampere | VA
|  |  |  | Vo mat. | VAL
|  |  |  | weeks | WK
|  |  |  | DEFAULT UNIT DESCRIPTION | XXX
|  |  |  | Yard | YD
|  |  |  | Square Yard | YD2
|  |  |  | Cubic yard | YD3
|  |  |  | Years | YR
|  |  |  | Microampere | µA
|  |  |  | Microfarad | µF
|  |  |  | Microgram /liter | µGL
|  |  |  | Microgram /cubic meter | µGQ
|  |  |  | Microliter | µL
|  |  |  | Micrometer | µM