PÀ£ÁðlPÀ «zÀÄåvï ¥Àæ¸ÀgÀt ¤UÀªÀÄ ¤AiÀÄ«ÄvÀ

KARNATAKA POWER TRANSMISSION CORPORATION LIMITED

Corporate Identity Number (CIN):U40109KA1999SGC025521

| ರವರ ಕಚೇರಿ, ಮುಖ್ಯ ಇಂಜಿನೀಯರರು (ವಿದ್ಯುಚ್ಛಕ್ತಿ), ಪ್ರಸರಣ (ಕಾರ್ಯಾಚರಣೆ) ವಲಯ, ಕವಿಪ್ರನಿನಿ, ನವನಗರ, ಬಾಗಲಕೋಟೆ – 587103 ದೂರವಾಣಿ ಸಂಖ್ಯೆ: 08354-235296 |  | Office of the, Chief Engineer, Electricity, Transmission (Operation) Zone, KPTCL, Navanagar, Bagalkote– 587103. E-Mail: ceetzbgkt@kptcl.org Phone No: 08354 - 235296 |
| --- | --- | --- |

No. CEE/TZ(O)/Bgkt/SEE(O)/AEE-8/F-1/26-27/5058        	     Dated:11.06.2026

TENDER NOTIFICATION

(KARNATAKA PUBLIC PROCUREMENT PORTAL ONLY)

| 1. | Bid Enquiry No | KPTCL/CEE/TRNS/BGKT/CKD/26-27/11KVSWGrplcmntpackage |
| --- | --- | --- |
|  | Tender Enquiry No. | KPTCL/2026-27/SS/WORK_INDENT3841 |
| 2. | Name of the work | Combined package for Replacement of old 11KV MCVCB SWGs at 110KV S/s Sankeshwar AREVA, Ainapur MEGAWIN and ABB, Hidkal Dam-Sadalaga-Nippani-BHEL, Galataga(Bhoj)-CGL in Chikkodi Div. Includes supply of materials/equipment, erection, civil works, testing & commissioning on Partial Turnkey Basis. |
| 3. | Commissioning | 6 (Six) Months from the date of Letter of Intent to Award the contract or 01 month from the date of supply of Switchgear by KPTCL whichever is later including monsoon period. |
| 4. | Amount put to tender | Rs.83,96,259.73 (Exclusive of GST) |
| 5. | EMD | Bids shall be accompanied by Bid Security (EMD) for Rs.1,26,000.00 at 1.5% on Amount Put to Tender as follows; - Up to Rs.1.00 Lakh The following modes of payment will be provided as a part of e-Payment services. - Credit Card/Debit Card - Net Banking - NEFT/RTGS - Over-the-Counter (OTC) - IMPS. For further details regarding mode of e-payment of EMD in e-procurement platform, please contact e-procurement cell, Government of Karnataka. - Balance Rs. 26,000.00 in the form of Insurance Surety Bond(ISB) issued by insurance company authorized by Insurance Regulatory and Development Authority of India(IRDA) as per Annexure-IIB(ISB Format) of section-4 of bid document OR in the form Bank Guarantees as per Annexure-IIA(BG Format) of Section-4 of the bid document issued either by a Nationalized/ Scheduled Bank covering 45 days after the Validity Period of the Bid including Period of Extension, if any required by the Owner. Also, the Bidder shall scan the Bank Guarantee/Insurance Surety Bond towards EMD and upload the same in the prescribed format in the Karnataka Public Procurement Portal to enable the owner for verification of EMD BG/ISB at the time of opening of Techno commercial bid, failing which the offer will be rejected. Also, the Bidder shall ensure that the Bank Guarantee/ISB towards EMD shall be sent in original to the Chief Engineer, Electy., Transmission Operations Zone, KPTCL, Bagalkote, so as to reach after the last date of submission of bid & on or before the date & time notified for opening of Techno Commercial Bids, in a sealed cover, failing which their bid will not be opened. |
| 6 | Qualifying requirement of Bidder | - Eligible Tenderers: - The Tenderer/Bidder shall possess valid Super Grade Electrical Contractors License issued by the Government of Karnataka OR Valid Form J-1 verification letter issued by the Chief Electrical Inspectorate, Govt. of Karnataka to other State Electrical Contractor License Holder as on the date of Bid Submission and shall upload the same along with other Bidding documents failing which the offer will be rejected. - Tenderers shall not be under a declaration of ineligibility for corrupt and fraudulent practices issued by the Government of Karnataka. - Tenders from Consortium/Joint ventures are not acceptable. - General Requirements: The Bidder should have the following Qualifying Requirements: - Bidder shall be financially sound and shall submit audited financial reports for last five years preceding the date of Bid submission. Bidder shall have adequate knowledge of Sub-Stations and Transmission Lines Design procedures including Quality Control and shall have infrastructure and Erection facilities and capacity to execute the Works. - Litigation:The Tenderer shall provide detailed information on any litigation or arbitration arising out of contracts completed or under execution by it over the last five years with KPTCL. A history of awards involving litigations against the bidder or any party or JV/Consortium partner may result in rejection of bid. - The Tenderer/bidder should not have been Blacklisted/disqualifiedfor non-performance in any of the Government utilities in the past five years as on date of Bid opening. Then in such cases, the offer of the bidder will be summarily rejected. - The offer of the Tenderer/bidder is liable for rejection in following cases: - Where the zonal Chief Engineers/CEE(T&P) have issued notices in respect of ongoing works in the last 6 months as on date of bid submission invoking ‘Risk & Cost’ clause and where the work is not completed/ charged. - Where the zonal Chief Engineers/CEE(T&P) have issued notices in the last 6 months as on date of bid submission invoking ‘Risk & Cost’ clause and where the work is completed by KPTCL entrusting it to some other agency. - Wherein the works awarded by KPTCL to the Tenderer/bidder has been short, closed invoking clause 49.7 & 49.8 of Conditions of Contract (Contractor’s default) then the bidder shall not be eligible if such short closure has been initiated within 6 months prior to the last date of bid submission of this tender. Note: However, if the Tenderer/bidder after issue of ‘Risk & Cost’ notice completes the works successfully and if the same is commissioned (before opening of the bid), in such cases the offer of the bidder would be considered. - Restriction on Land Border Sharing: Any Bidder from a country which shares a land with India will be eligible to bid in this tender only if the bidder is registered with the Competent Authority as per the provision of Government Order No. FD455 EXP-12 2020 Bengaluru dated 01.04.2023. Such bidder/Vendor shall meet the eligibility clauses specified in Annexure-XVI & Annexure-XVII of the tender document under the heading Model Clause/ Certificate/Undertaking. A certificate/ self-declaration/undertaking for having read the clauses specified in Annexure-XVI and Annexure-XVII is to be uploaded by the bidder in the following format: - “I have read the clause regarding restrictions on procurement from a bidder of a country which shares a land border with India; I certify that this bidder is not from such a country or, if from such a country, has been registered with the Competent Authority. I hereby certify that this bidder fulfills all requirements in this regard and is eligible to be considered. (Where applicable, evidence of valid registration by the Competent Authority shall be attached). - I have read the clause regarding restrictions on procurement from a bidder/vendor having Transfer of Technology (TOT) arrangement. I certify that this bidder/vendor does not have any TOT arrangement requiring registration with the competent authority. OR I have read the clause regarding restrictions on procurement from a bidder/vendor having Transfer of Technology (TOT) arrangement. I certify that this bidder/vendor has valid registration to participate in this procurement. Note: As per the GOK, Circulars dated 10.03.2021 and 29.03.2021, regarding Registration with Competent Authority, the following are the clarifications, - A Bidder is permitted to procure raw material, components, sub-assemblies etc., from the vendors from the countries which shares a land border with India. Such vendors will not be required to be registered with the Competent Authority, as it is not regarded as “sub-contracting”. - However, in case a bidder has proposed to supply finished goods, procured directly / indirectly from the vendors from the countries sharing land border with India, such vendors will be required to be registered with the Competent Authority. - Procurement of spare parts and other essential service support like Annual Maintenance Contract (AMC)/ Comprehensive Maintenance Contract (CMC) including consumables for closed system, from Original Equipment Manufacturer (OEMs) or their authorized agents are exempted from the requirement of registration as mandated under Government Order No: FD 455 Exp- 12/ 2020 Bengaluru dated 28.08.2020. Bidders are requested to upload the valid Super Grade Electrical Contractors License issued by the Government of Karnataka OR Valid Form J-1 verification letter issued by the Chief Electrical Inspectorate, Govt. of Karnataka to other State Electrical Contractor License Holder and Certificate/ self-declarations in respect of Clause Nos 2.3 and 2.4 (b), (c), (d) & (e) above respectively along with the other documents, failing which the offer is liable for rejection. - Qualification of the Tenderer: - All Tenderers/Bidders shall provide the requested information accurately and in sufficient details as detailed in Section 3: Qualification Information and shall upload all the documents/credentials meeting the Qualifying Requirements as below: - To qualify for award of this contract, Tenderer in its name should have the following: - Achieved in at least Two financial years in the last five years i.e. FY 2020-2021 to 2024-2025 a minimum financial turnover of ₹.335.85 Lakhs*. Note: - *Updated to the FY in which the tenders are invited. Financial Turn Over of previous years shall be given a weight of 10% per year to bring them to the price level of the FY in which the tenders are invited. - Audited Financial statements i.e. Balance sheets, P&L statements, Turnover certificates of bidder duly certified by chartered Accountant as documentary evidence shall be uploaded. - Bidder shall furnish certificate from Charted Accountants for split up details of Financial Turnover and GST in the prescribed format Annexure (XX) - Qualifying Requirements (Technical): Substation work: The bidder should have Constructed, completed and commissioned 33/11KV or 110/33/11KV Voltage Class sub-stations or 220/110/33/11KV Voltage Class Receiving stations along with erection of 11KV switchgears and associated works in ESCOM/ KPTCL/ KPCL/ State Government Organization/ PSU/ Public Listed Company on Total Turnkey or Partial Turnkey basis in the last 10years preceding the date of Bid submission and shall be in satisfactory service for a minimum period of One (1) year prior to the date of submission of the Bid. OR The bidder should have carried out at least 2 (Two) augmentation of power transformer capacity works along with replacement of/ providing additional 11KV switchgears and associated works in 33/11KV or 110/33/11KV sub-stations or 220/110/33/11KV Receiving stations in ESCOM/ KPTCL/ KPCL/ State Government Organization/ PSU/ Public Listed Company on Total Turnkey or Partial Turnkey basis in the last 10years preceding the date of Bid submission and shall be in satisfactory service for a minimum period of One (1) year prior to the date of submission of the Bid. OR The bidder should have carried out at least 2 similar type of work of replacement of 11KV switchgears in 33/ 11KV or 110/ 33/ 11KV sub-stations or 220/ 110/ 33/ 11KV Receiving stations and associated works in ESCOM/ KPTCL/ KPCL/ State Government Organization/ PSU/ Public Listed Company on Total Turnkey or Partial Turnkey basis in the last 10years preceding the date of Bid submission and shall be in satisfactory service for a minimum period of One (1) year prior to the date of submission of the Bid. Note: The documentary proof of fulfilling the qualifying requirements in support of above shall be uploaded along with the bid. The Tenderer shall upload the P.O, LOI/ LOA, DWA, Work done Certificates, Performance Certificates issued by the end users not below the rank of Executive/ Divisional Engineer along with the bid. - Void. - Void. - Tenderer should further demonstrate: - Equipment Capabilities: VOID - Liquid Assets and/or availability of credit facilities of not less than Rs.20.99 Lakhs (Credit lines/ Letter of credit/ certificates from Banks for meeting the fund requirement etc.,). - Deleted - Deleted. - Deleted. - Tenderers who meet the above-mentioned minimum qualifying criteria will only be qualified if their available tender capacity is more than the total tender value. The available tender capacity will be calculated as below: Assessed available tender capacity = (A*N*1.5 - B) Where, A = Maximum value of works executed (KPTCL & Non-KPTCL) in any one year during the last five years (updated to FY 2025-2026 price level) taking into account the completed as well as works in progress. N = Number of years prescribed for completion of the works for which tenders are invited. B = Value, at FY 2025-2026 price level, of existing commitments (KPTCL & Non-KPTCL) and on-going works (KPTCL & Non-KPTCL) to be completed during the next 1.0 Year. Note: - The statements showing the value of existing commitments and on-going works as well as the stipulated period of completion remaining for each of the works listed should be countersigned by the Employer in charge, not below the rank of an Executive Engineer or equivalent. OR The statements showing the value of existing commitments and on-going works as well as the stipulated period of completion remaining for each of the works listed should be verified and certified by Chartered Accountant/ Cost Auditor. However, the Bidder has to upload the PO/Work Award copies for existing commitments and on-going works. - A self-declaration is to be uploaded by the Bidder stating that, "the information with regard to Assessed available tender capacity (Works on Hand) furnished are correct". - Bidder Shall furnish certificate from Charted Accountants for split up details of financial turnover and GST in the prescribed format as per Annexure-XX - Even though the Tenderers meet the above criteria, they are subject to be disqualified if they have: - made misleading or false representations in the forms, statements and attachments submitted in proof of the qualification requirements; and/or - record of poor performance such as abandoning the works, not properly completing the contract, inordinate delays in completion, litigation history, or financial failures etc.; and/or - participated in the previous Tender for the same work and had quoted unreasonably high Tender prices and could not furnish rational justification - PUBLIC SECTOR COMPANIES: - Public Owned Enterprises domiciled in the Owner / Lessee Country may be eligible to qualify if, in addition to meeting all the above requirements, and also: - Are Commercially oriented Legal Entities distinct from the Owner/Lessee and are not a Government Department. - Are financially autonomous, as demonstrated by requirements in their constitutions to provide separate audited accounts and return on Capital, powers to raise loans and obtain Revenues through the sale of Goods or services and - Are Managerially autonomous. - PSU’s shall note that No preference / advantage of whatever nature will be given in evaluation / comparison of Bids and in Award of Contract. - General: - A Bidder shall submit only one tender in the same tendering process. - Notwithstanding the above, if it is found that the performance vis-a-vis works awarded to the Bidder by KPTCL is either behind schedule or not satisfactory, KPTCL will be at liberty to disqualify the Bidder and reject its Bid at the time of techno-commercial evaluation. - If the information furnished by the Bidder / Bidders found to be false at any stage of tendering / execution, then the KPTCL, at its discretion, may take action against such Bidder / Bidders. If false information is found at the Tendering stage KPTCL may forfeit the EMD paid, disqualify the offer of such Bidder, Black list the Firm etc.., and if false information is found at execution stage then KPTCL may cancel the works awarded, forfeit the Bank Guarantee furnished against the performance of the contract, Black list the Firm, besides initiating action for recovery of excess money paid by KPTCL, if any, after getting the works executed from other contractors, levy liquidated damages etc.. - If part or full price sheets or prices are exposed in the Techno-Commercial Sheets or Techno-Commercial Bid by the Bidder, then the offer of the Bidder will be rejected. - Notwithstanding anything stated above or elsewhere in the Tender specifications, KPTCL reserves right to assess the Capability / suitability of the Bidder to perform the overall Contract should the circumstances warrant such assessment in the overall interest of KPTCL. - KPTCL reserves the right to vary or modify any of the tender conditions for reasons to be recorded, in case it becomes necessary. - Bidder to source the supply of equipment/material from KPTCL approved Vendors only as per the revised QR for Vendor registration, available in the KPTCL website i.e., https://kptcl.karnataka.gov.in Link Tendering & Procurement application for Vendor registration. Further, a certificate is to be submitted /uploaded by the Bidder agreeing to source the equipment/ material for the work from the Vendors who meet the eligibility clauses regarding restrictions on procurement from a country which shares a land border with India as specified in Annexure - XVII of the tender document. |
| 7.0 | Price Basis | Prices are on FIRM BASIS as per circular No.: B19/ 345/ 85-86 Date:27/09/2023. |
| 8.0 | Bid Documents | Bid documents in the following format will be available on the website on or after 12/06/2026. Section-1:; Invitation For Tenders (IFT). Section-2:; Instructions To Tenderers (ITT). Section-3:; Qualification Information. Section-4:; Format of Annexures. Section-5:; Conditions of Contract (CC), Erection Conditions of Contract (ECC) & Special Conditions of Contract (SCC). Section-6:; Contract Data. Section-7:; Technical Specifications. Section-8:; Drawings. Section-9:; Bill of Quantities.. Section-10:; Format of Bank Guarantee /Insurance Surety Bond for BID SECURITY (EMD) & SECURITY DEPOSIT. Section-11:; Bid Proposal Sheets a) Techno-Commercial Sheets b) Financial Bid. |
| 9.0 | Calendar of Events: |  |
| 9.1 | Commencement of Registration and issue of Electronic Bid Sheets. | 12/06/2026 at 16:30Hrs |
| 9.2 | Date of Pre bid meeting & Venue | 15/06/2026 at 11:30Hrs Venue: At the office of Chief Engineer Electy, Transmission Zone KPTCL Bagalkote. |
| 9.3 | Last date & time for seeking clarifications. | 15/06/2026 at 13:00Hrs |
| 9.4 | Last Date & time for receipt of Bids through Electronic Mode only. | 29/06/2026 at 15:00Hrs |
| 8.5 | Date & time of opening of Techno Commercial Bid Sheet. | 30/06/2026 at 15:30Hrs |

The prospective Bidders can download blank tender documents from                    e-procurement portal free of cost by logging on to https://kptcl.karnataka.gov.inwith hyperlink ‘E Procurement KPTCL’or to https://kppp.karnataka.gov.in. However, for participation in the bidding process, they need to pay the tender processing fee as prescribed by the Kpp-procurement portal.

The tender must be submitted on or before the date & time notified through online in KPP portal as per KPP portal guidelines.

Any clarifications regarding the scope of work and technical features of the project can be had from the undersigned during office hours.

Bidders are requested to refer the uploaded Techno-commercial sheet for detailed quantity breakup of certain Equipment / Materials, while quoting percentage rates in the “Bid Financial Offer” provisioned in Karnataka Public procurement portal.

The Amount put to tender/Estimated cost value is excluding GST as per Finance Department Circular No: FD 417 EXP-12/2024 Dated 09-08-2024 and bidders are required to submit their financial quotes excluding GST.

Sd/-

Chief Engineer, Electy.,

Transmission (Operations) Zone KPTCL Bagalkote.